ILC Vertex Workshop
Como April 2008
Measurements of cluster shapes in MAPS detectors – studies towards beamstrahlung rejection in the ILC Vertex Detector
Ł. Mączewski, M. Adamus, J. Ciborowski, P. Łużniak

---
Introduction
Energy distribution of particles
reaching the first VXD layer
[Akiya Miyamoto, CIAW07]
High beamstrahlung background – e+e- pairs with low Pt
Electrons and positrons spiralling in the magnetic field
Physics hits with high Pt
Low Pt
High Pt

---
Introduction
Discriminate between beamstrahlung and physics hits at ILC (simulation by P. Luzniak)
physics hits
beamstrahlung – e+e- pairs simulated by
Guinea Pig (@ 500GeV)
Hits in first VTX layer
z [cm]
3
0
1
2

---
Dedicated measurements at DESY
Beam tests at DESY – 6.5 GeV electrons delivered by DESY || accelerator
Measurements of MIMOSA5 and MIMOSA18 (MAPS devices) response at different incident angles
6.5 GeV electrons at several
incident angles θ ∈ (0°,80°)

---
Tested MAPS prototype
MIMOSA18 measurements
Pixel size: 10µm  10µm
Epitaxial layer: 14µm
Thickness: 700µm
MIMOSA5 measurements
Pixel size: 17µm  17µm
Epitaxial layer: 14µm
Thickness: 120µm
Using DESY reference strip telescope
Without reference telescope

---
Cluster shapes – angles reconstruction
      = 78˚  = -38˚
values determined by alignment
l_{1} sim sqrt(%lambda_{1})
Determination of main axes
l_{2} sim sqrt(%lambda_{2})
Charge distribution matrix
left(matrix{ sum_{i}{q_{i}over{Q}(x_{i} - overline x)^{2}} # Sum_{i}{q_{i}over{Q}(x_{i} - overline x)( y_{i} - overline y)} ## sum_{i}{q_{i}over{Q}(x_{i} - overline x)( y_{i} - overline y)} # sum_{i}{q_{i}over{Q}(y_{i} - overline y)^{2}}} right )
diagonalisation
Eigenvalues (λ1 λ2) → elongation → θ
Eigenvectors → φ
where: qi, xi, yi are charge and coordinates of the i-th pixel in a cluster, Q is a total
cluster charge and x, y are the coordinates of the cluster symmetry centre

---
Reconstruction of cluster orientation MIMOSA-5
      = 78˚  = -38˚
values determined by alignment
High precision of Ф determination achieved for significantly elongated clusters – σΦ < 15◦ for θ > 60◦
Higher precision is expected for smaller pixels size - MIMOSA18

---
Reconstruction of cluster orientation MIMOSA-5
Elongation along the particle path
pixels
θ
θ
epitaxial
14.0 µm
sqrt{%lambda_{1}} = p0 + p1 cdot tan{%theta}
p1 – proportional to epitaxial thickness
substrate

---
Reconstruction of cluster orientation
For smaller pixels size higher precision of Ф is achieved
In case of the 10 µm pixel pitch, σΦ < 15◦ for θ > 40◦
To reject beamstrahlung more efficiently small pixels in the first layer of the VXD are recommended - 5 µm

---
Reconstruction of cluster orientation MIMOSA-18
Elongation along the particle path
pixels
θ
θ
epitaxial
14.0 µm
sqrt{%lambda_{1}} = p0 + p1 cdot tan{%theta}
p1 – proportional to epitaxial thickness
substrate

---
Summary
Results are very promising in terms of distinguishing between beamstrahlung and physics hits:
  - Precision of presented method increases with decreasing pixel size
  - Tests with ~ 10 - 100 MeV electrons planned
Dedicated Monte Carlo studies for beamstrahlung rejection efficiency are in progress:
  - Development of parametrisation of the MAPS detectors response