First SDHCAL results from
1 m³ test beam data
Vincent Boudry
École polytechnique
in behalf of CALICE-SDHCAL group
CIEMAT, Ghent U., IPNL,LAL, LAPP, LLR, Tsinghua U., UCL
LCWS'12, Arlington, TX
23/10/2011

---
FOREWORDS
- Preliminary results from August and May runs
- Raw performances of the Semi-Digital HCAL,
  1 m³ based on 1×1 cm² GRPC
  - response to single beam particles
  - Uncalibrated (cell-wise) calorimeter
  - no use the Ebeam knowledge
  - Not a Particle Flow performances estimation
- Data driven analysis
  - MC needs tuning to data (tbd)
  - esp. particle ID.
- Mainly results from 1 integrated analysis
  - merging techniques from complementary analysis (not presented here)
  - rush effort of the SDHCAL group and CALICE referee's to validate results
    → CALICE preliminary tag

---
Semi-Digital HCAL Concept
Ultra-granular HCAL can provide
a powerful tool for the PFA
leading to an excellent Jet energy
resolution.
It is based on two points:
1- Gaseous Detector
Gaseous detectors like GRPC
are homogenous, cost-effective,
and allow high longitudinal and
transverse segmentation.
2- Embedded electronics Readout
A simple binary readout leads to a very good
energy resolution
However, at high energy the shower core is
very dense and saturation shows up
2-bit readout improves on
energy resolution at energies> 30 GeV
simulation
1 cm2 pad
Avalanches

---
Structure of an active layer of the SDHCAL
48 layers of 0.12 λI = 5.76 λI
PCB support (polycarbonate)
PCB (1.2mm)+ASICs(1.7 mm)
Mylar layer (50μ)
Readout ASIC
(Hardroc2, 1.6mm)
PCB interconnect
Readout pads
(1cm x 1cm)
Mylar (175μ)
Glass fiber frame (≈1.2mm)
Cathode glass (1.1mm)
+ resistive coating
Anode glass (0.7mm)
+ resistive coating
Ceramic ball spacer (1.2mm)
Gas gap
6mm
15mm
2.5mm
     2.5mm
0.12 λI

---
Beam conditions
- Beams of pions, electrons and muons at CERN
  - 2 weeks in May 2012 @ SPS H2
    - π+: 20, 30, 40, 50, 60, 70, 80 GeV
    - e- :10, 20, 30, 40, 50, 60 GeV
    - μ dedicated runs...
  - 2 weeks in August (& September) 2012 @ SPS H6
    - π+: 5, 7.5, 10, 15, 20, 25, 30, 40, 50, 60, 70, 80, 90, 100 GeV
    - + few μ dedicated runs
- Beam composition:
  - all runs contain μ's (esp. e-) and cosmics
  - π's runs filtered by 4mm Pb to remove e- (esp. for E≥20 GeV)
  - proton component in HE π's runs (@ E≥20 GeV)
  - δEbeam/E ~ 1 %
- Large beam profile
  - low rates (ε ➘ at ƒ ≥ 100 Hz)
  - Rate monitored online by μ tracks and π tracks segments
    - Only run with ƒ≤1000 part/spill ⇔ φ ≤ 100 Hz/cm²

---
Configuration:
- GRPC set-up & response
  - gas: TFE 93%, CO2 5%, SF6 2%
  - HV = 6.9 kV
  - the average MIP induced charge being around 1.2 pC
  - Thresholds set at 114 fC, 5 pC and 15 pC (0.1; 4; 12.5 mip)
- Dead zones:
  - 1/3 slab of plane # 46 dead in May ; repaired for August runs
  - 1st 47 planes available during 1st week fo August.
  - 7 ASIC switched off (and not replaced) ↔ 1 ‰ dead zone.
- Gains
  - All set to 1 (no gain corr.) during this data taking
    - (will be done for next period)

---
Data taking
- Triggerless mode : record events until memory is full, then data transfer and restart.
- Power-Pulsed mode : According to the time spill structure
  - ( N×400 ms (PS)*, 10s (SPS) every 45 s)
- Physics events are built as follows: 3 consecutive BC (200ns)
  - Based on cosmic studies
Hits left by charged particles
* N is often 1 and sometimes 2-3 spills/cycle

---
Selection

---
μ track selection
(monitoring)
- ε, μ estimated from tracks reconstructed from other layers
  - hits are grouped in clusters if sharing an edge
  - isolated clusters (∆rin layer > 12 cm) dropped
  - Tracks reconstructed
    if remaining Nlayers > 7,
    - with at least 1 layer on each side of investigated one (except 1st and last layer)
  - χ² with ∆x,y = Span(cm) in (x,y) / √12
- Efficiency
- Multiplicity =
size *1.5{ {"Nb tracks with ≥ 1 hit" {%delta r≤3 cm} "from track impact in plane"}over {Nb of tracks}}
size *1.5{ bold left langle {nbold "Nb hit in cluster closest to tracks, if any" } right rangle }

---
Particle ID
- Topological:
  - Principal Component Analysis (PCA) on all hits or clusters
  - 3 main ⊥ axis eigenvalues
    λi ≡ σ (hits) on axis
    - λ3 = longitudinal comp.
  - Transverse Ratio (λ1⊕λ2) / λ3 → muons vs e, π
- Shower start
  - λ1p, λ2p idem to λ1, λ2 restricted to 1 plane
  - 1st interaction plane (FIP) ≡
    - λ1p⊕ λ2p>1.5cm
    - Nhitplane > 5
size *1.7 {%lambda_{1}, %lambda_{2} , %lambda_{3} nitalic " with " %lambda_{1}< %lambda_{2} < %lambda_{3}}

---
Particle ID (cont'd)
- Density
  - V1 = (∑layers N25layer ) / Nhits
    - N25layer = Nhits in 5×5 around barycenter
      in 1 layer
  - V2 = FD3D / ln(Nhits)
    - Fractal dimension:
      Ncube(n) ≡ number of cube in I={2,3,4,6,8,12,16}
- Clustering :
  - removal of isolated hits and tagging of overlapping events
  - MST à la charm-II using
    - Nhits > 25; λ3 > 4.5 cm; λ2 / λ3 > 0.01.

---
Event selection
- μ rejection:
  - Transverse ratio
    TR ≥ 0.1 → 98% of μ's
60 GeV π's
7.5 GeV π's
Nhits
TR
Muons
e, π, p

---
e/π separation
Operation on clusters
Negligeable loss of
 π's @ HE
few % e- residual
 contamination @ LE
10% variation of cut
⇒ Systematics
V1 • V2
Variation of cut with Ebeam

---
Leakage reduction
- FP # ≤ 4.
  - removes cosmics (lateral entrance)
- First Interaction Plane (FIP) # < 15
  - removal of late interacting hadrons.
- The last shower plane (LP) # < 42
- or Nhit(last 7 planes) / Nhit(first 30 planes) < 0.15
After all Selection
OR
- The first (last) plane (FP, LP) of the reconstructed shower
  - containing a hit:
  - could be ≠ from interaction plane

---
Results

---
Raw number of hits (binary HCAL)
20 GeV π's
60 GeV π's
±2σ Gaussian fit
Crystal Ball fit

---
Nhit response (binary HCAL)
π's showers
- Saturation observed for
  Ebeam ≥ 30 GeV
- Offset (~4 hits) compatible with noise over 3 clock cycles
- Fit by quadratic function:
  E = (C+ D • Nhit) Nhit
  yields:
  C = 54.3 MeV
  D = 0.009 MeV

---
Linearised response
(event by event)
Crystal Ball fit
Width (Gauss, CB) → σ(E)/E
  - Err = Stat	⊕ δ(Gauss, CB fit)
     ⊕ cut var ±10%

---
SDHCAL response (multi-thr.)
80 GeV Pion
Thresholds set at
114 fC, 5 pC and 15 pC
(~ 0.1; 4; 12.5 mip)
  - Additional information
    on shower structure
70 GeV e-

---
SDHCAL response (multi-thr.); Nhits
  - N1 = # of Hits ≥ thr1, <thr2
  - N2 = # hits ≥ thr 2, <thr3
  - N3 = # hits ≥ thr3
- Nhit = N1+N2+N3
  Erec = α N1 + ß N2 + γ N3.
  α,ß,γ = ƒ(Nhit)
- Min of χ² with
  over 10, 20, 30, 40, 50 and 60 GeV
  samples (1/3 of stat.)
- Parametrised as quartic function of Nhit
- Valid for single – known – particle...
color red size*1.5 {%chi^2= Sum^{N}_{i} { {(E^{i}_{true} -E^{i}_{rec})^2} over {E^{i}_{true}}}}

---
SDHCAL response
Crystal Ball fit
Crystal Ball fit
- Linearity ≤ 5% over full range
  - Tuning done for Ebeam≥10 GeV
  - e- contamination @ low E.

---
SDHCAL: binary vs multi-thr.

---
SDHCAL binary & multi-thr modes
σ(E)/E, Pions showers
- Visible improvement of resolution
  for Eπ ≥50 GeV
  - ≤10% at 80 GeV.
- Raw performances
  (no pattern recognition, PFA, ...)
- Raw resolution of untuned calorimeter
  - SDHCAL
  - DHCAL
- Single pions, filtered for leakage
- Err = Stat	⊕ δ(Gauss, CB fit)
   ⊕ cut var ±10%SHCAL

---
Conclusion & prospects
- The CALICE technological SDHCAL-GRPC prototype was successfully tested with its 48 layers and its 6 λI in different places (SPS, PS)
  - Power-Pulsing allows optimal conditions (temperature, noise) and it was the running mode during this year different TB.
  - Excellent data quality was obtained in TB (especially in August with gas installation under our own control) with smooth running conditions (no intervention for the 2-week TB period).
- Preliminary results without data treatment
  (no gain correction, no local calibration, ...)
  indicate an excellent single particle
  energy resolution on pions
- Multi-threshold mode brings significant
  improvement at Eπ≥50 GeV.
- Comparison with simulation is ongoing
  and will bring rich information to better
  understand the hadronic showers.

---
Back up

---
Crystal Ball function

---
Coherent noise
freq / Hz

---
Micro structure of segmented
GRPC response...
With muons (beam + cosmics), one can derive efficiencies and multiplicities per plane, per ASIC, per channel or per area smaller than a cell.
Multiplicity vs angle
Muons recorded during august test beam.
Multiplicity in a cell
Efficiency per plane

---
Shower shape variables
Shower start = layer for which a hit has at least 8 3D-Nearest Neighbours if layer+3 has at least 12 Nearest Neighbours.
Then for each layer, clusterise the hits, removing hits which are at more than 3 rms (spatial distribution) from the center of gravity.
Find the layer which has the biggest spatial rms of the hit distribution. That rms is the radius.
Half is the distance between the shower start layer and the layer that has the biggest spatial rms.
Shower start
Max transversal extent to define the radius.
half

---
Comparison with simulation (I)
Use standalone GEANT4 application to simulate the prototype.
Digitisation included in the prototype
Charge(pC)
Polya-distribution:
Cosmic Charge
Polya Fit
7400V Polya Fitting

---
20 GeV
10 GeV
10 GeV
15 GeV
25 GeV
30 GeV
40 GeV
50 GeV
60 GeV
70 GeV
90 GeV
100 GeV
80 GeV

---
Note