HEPHY Testbeam 2008:
First tracking results
Zdenek Dolezal, Zbynek Drasal, Peter Kvasnicka
IPNP, Charles University, Prague
Thomas Bergauer, Marko Dragicevic, Markus Friedl
HEPHY, Vienna
2. June 2008
*	The presenter is supported by EU I3 contract 026 126-R II3 (EUDET)
HEPHY Wien

---
Outline
HEPHY beam test at CERN in 2008
  - (very) basic data, tasks and challenges
Zones on DUTs
  - Zone η corrections and edge effects
DEPFET tracking and resolution calculations
Zone resolutions – very first results
  - Overview – what we did
  - Results: reproducibility across runs
EUDET telescopes
  - Independent analysis path

---
HEPHY beam tests at CERN in 2008
8 strip detectors between 2 and 3 EUDET telescopes
120 GeV п+ beam on SPS
Strip detectors with 16 zones of 16 strips, pitch 50 µm. Each zone with different properties (strip width / intermediate strips)
Low multiplicity on EUDET telescopes: about 5 hits per event
Measurement plan includes high-statistics runs and runs with inclined detector

---
Zones on DUTs
16 zones of 16 strips
Account for / Describe position-dependent detector properties
Must have enough tracks passing through each zone
Non-standard properties in border regions between zones. We cannot simply discard tracks passing through boundaries – we would lose TOO MANY!

---
Hit reconstruction: the zone ƞ correction
Zone ƞ correction = ƞ for 16 strips (rather than for 1)
We need to handle (unknown) boundary effects between zones with different strips. This is done automatically by the zone eta.
A simple and straightforward method, relying on the large statistics that we have.
- Original distribution
- Corrected distribution
Eta correction function
Zone ƞ correction: Create uniform
distribution over whole 16 strips
of a zone rather than over a single
strip.
This also takes care of zone
boundary effects.
X COG ->
X ->
X CORR ->
# hits ->

---
Zone resolutions
Resolutions calculated using the DEPFET tracking sw, (hacked to work with strips) provides detector resolutions
Resolutions are calculated simultaneously for all detectors
First approximation in case of zones:
  - Calculate resolutions for zones on detector 3, using tracks going through the respective zone
  - On other detectors, use average resolution

---
The DEPFET tracking software
Tracing sw created for tracking of DEPFET pixels
A standard analysis chain, comprising
  - hit reconstruction
  - track identification
  - detector alignment and track fitting
  - calculation of detector resolutions
  - reliability/sensitivity study on simulated data.
Several new methods:
  - a track selection algorithm based on the principal components analysis (PCA)
  - robust linearized alignment
  - direct computation of detector resolutions based on a track model that explicitly takes into account multiple scattering

---
Calculation of resolutions
In detector resolution calculations we decompose track projection errors (fit residuals) into contributions of
  - measurement error (detector resolution)
  - telescope error (error of track projection on the detector)
  - contribution of multiple scattering to telescope error
We use straightforward matrix inversion combined with quadratic programming or bootstrap resampling of the residual covariances to assure positivity of squared resolutions.
In particular, with the method we don't need infinite energy extra-polation or telescopes with known resolutions.

---
Zone resolutions - overview
Resolutions on other detectors are “mixed”, arising from tracks passing different zones.
In a following step, the resolutions obtained this way can be used on other detectors as appropriate for individual tracks.
No special treatment for edge zones was used.
We calculated zone resolutions by using only tracks that passed the required zone on detector 3.
Each time, resolutions are calculated for all detectors, but we have “clean” resolution only for detector 3.
[Speaker Notes: Notes: if we discard tracks passing through edge zones (say, through the two boundary strips), we lose close to 100% of tracks – detectors are shifted.]

---
Zone resolutions - results
Zone
Resolution (µm)
We have to combine results of several runs to reach sufficient occupancy over all area of the detector. Even so, we don't have enough data for edge detectors.
This graph allows to assess the precision of calculated resolutions.
0 interm strips
1 interm strip
2 interm strips
[Speaker Notes: Relative errors in resolutions: 2718-2720 1,2%, typicky 6000 trackov na zonu 0001 1,7% 2721 2,5%]

---
Zone resolutions - results

---
Analysis plans: EUDET telescopes
EUDET telescopes: provide another, independent path to the same analysis.
Nearly in all cases, analysis can be carried out using HEPHY dets alone, or usingg telescopes to look at a single HEPHY det, accounting other HEPHY detectors only for multiple scattering.
  - Pro: Multiple scattering contributes tenths of microns to measurement errors
  - Pro: Hit multiplicity is not serious in the data.
  - Con: We have rougher hit reconstruction for EUDET telescopes
  - Con: We need mixed alignment among EUDET telescopes and HEPHY dets to carry outt the analysis

---
Hit reconstruction and edge effects:
all those η functions
η corrections are not presented here.
Use zone η corrections for the analysis
Only in post-processing, separate effects - create “standard” η corrections (for a single strip) and analyze edge effects.
η functions are a good descriptor of sensor properties.
What can we say about detector resolution when looking at an η correction function?

---
Telescopes
Nearly in all cases, analysis can be carried out using HEPHY dets alone, or usingg telescopes to look at a single HEPHY det, accounting other HEPHY detectors only for multiple scattering.
  - Pro: Multiple scattering contributes tenths of microns to measurement errors
  - Pro: Hit multiplicity is not serious in the data.
  - Con: We have rougher hit reconstruction for EUDET telescopes
  - Con: We need mixed alignment among EUDET telescopes and HEPHY dets to carry outt the analysis

---
Thanks for your attention.

---
Backup slides

---
Analysis: Calculation of Resolutions
We however need tracks with a sufficient number of measurements per track (at least 5 per dimension). Otherwise the method provides a regularized MLS estimate – that is, a minimum-norm vector of detector resolutions.
The problem to be solved has the form
covariance matrix
of residuals
(known from tracking)
Vector of squared
detector resolutions
vector of mean square
angular deflections
vector
of diagonal
elements of
the matrix
Matrices depending on the method of calculation -
whether projections are calculated using the given detector or not
It can be solved by SVD inversion of MΔ, but we also have to assure that we obtain positive Δ2. For this, quadratic programming or bootstrap resampling of residual covariances can be used.

---
Analysis: Errors in alignment and resolutions
Alignment and resolutions are calculated using linear algebra, but they contain inherent non-linearities. Therefore, linear regression error estimates are not usable and we have to use a different method of error calculation.
Errors are calculated by bootstrap resampling of regression residuals:
Generate a large number (several hundreds) of replicas of the original track set: combine parameters of each track with a set of residuals from another, randomly selected track.
Repeat the analysis for each replicated set
Determine errors from distributions of parameters
Though computationally intensive, the method is simple and reliable.