## Slide 1: Gamma Detector of Plastic Scintillator
Oct. 2, 2009
IP-BSM Group

## Slide 2: Schematic Drawing of new Gamma Detector
sandwich type calorimeter
SUS and plastic scintillation plate
wavelength-shifting fiber (WLSF) for light transmission
Beam
SUS
PMT
plastic scintillator
WLSF

## Slide 3: Comparison with the CsI(Tl) Gamma Detector
same
multi-layer scintillator
BG separation by the difference between signal and BG in shower development
different
scintillator constituent: plastic
  faster response time
  non-deliquescent
  lower energy resolution
sampling calorimeter

## Slide 4: Scintillator
 | plastic scintillator | CsI(Tl)
Light Output [photon/MeV] | 1.1 x 104 | 6.5 x 104
Rise Time [ns] | 0.9 | 9.5 (66%), 41 (34%)
Decay Time [ns] | 2.1 | 1100
Wavelength of Max. Emission [nm] | 425 | 580
emission spectrum

## Slide 5: WLSF
Kuraray Y11
0.5mm-suquare
absorption and emission spectrum
PMT spectral response

## Slide 6: Geometry of the Calorimeter
number of layer: 5
SUS converter: 1-1-5-20-40mm thick
scintillator: 30mm thick (all layer)
100mm
100mm
30mm
SUS
Beam
plastic scintillator

## Slide 7: Geant4 Simulation: Shower Development

## Slide 8: Comparison with the CsI(Tl) Gamma Detector in BG Separation
new detector
the CsI(Tl) gamma detector
Signal: 500 photon
with Shot by Shot method

## Slide 9: Incident Energy vs. Deposit Energy Fraction
*fraction of the CsI(Tl) gamma detector is “Flat”

## Slide 10: Scintillator Box
0.5mm SUS plate
Aluminum frame

## Slide 11: Scintillator Boxes are Independent of each other
PMT above the beam-line
to avoid radiation damage
LED for
calibration
100mm
100mm

## Slide 12: Connecting Jig for connecting PMT and WLSF

## Slide 13: Scintillator
wrap: Goretex
Fiber: Y11 x 18 (green), calibration fiber x 1 (white)

## Slide 14: Shower Development in SUS
Signal photon
BG photon
SUS converter 1-1-5-20-40mm thick
40mm
20mm
5mm
1mm
1mm

## Slide 15: Shower Development of Monochrome Gamma (normalized to 1)