## Slide 1
ILC – Central Integration SB 2009 Layout
Interpretation of available data into CAD 3D virtual model to serve as true scale graphical representation.
by N.Collomb

## Slide 2
ILC – Central Integration SB 2009 Layout
Racetrack shape
Damping Ring Tunnel
Electron Beam Delivery System Tunnel
Detector Hall
Next slide
BDS Diagnostic Dump and Positron 5GeV Booster section
Slides 10 & 11
Positron Production Area; incl. AUX Source, Remote Handling Area, Capture area and chicane and Pre - Accelerator
Slides 12 - 16
Undulator Area
Slides 17 & 18
Main LINAC
(just out of view)

## Slide 3
Detector Hall
Service Tunnel
ILC – Central Integration SB 2009 Layout
Interaction Point (I.P.)
Positron Main Dump
Electron BDS Tunnel
Damping Ring Injection and Extraction Straight
ISO View Close up
Capable of making out some systems
Damping Ring Transfer Tunnel

## Slide 4
ILC – Central Integration SB 2009 Layout
Top View Close up
Damping Ring Offset = 90m
Interaction Point (I.P.) where X, Y and Z = 0 (zero)
Positron Beam direction after collision
Electron BDS Beam direction pre-collision
Positron Beam Transfer direction
Electron Beam RTML direction
+ve Z
+ve X
+ve Y,
Out of page
Next slide
Positron Beam Direction
Electron Beam Direction
Positron Injection & Electron Extraction Septum Position at X=90m and Z=-80.9m
Damping Ring offset change since Albuquerque

## Slide 5
ILC – Central Integration SB 2009 Layout
110 m between Dipoles
R=30m, all Arcs, with Dipoles at 7.9316° spacing
Positron Spin Rotation relocated.
(400MeV version shown, 5GeV requires larger Solenoids and Dipole magnets, will NOT change tunnel arrangement)
Positron Energy compression (best guess)
Positron Elevator (Y = 0m to 1.3m)
Electron Elevator (Y = 0m to 2m)
Positron Beam Direction
Electron Beam Direction
Quite a bit of guess work going on at this moment.
There are 9 Beam Dumps in the Transfer Tunnel?
Damping Ring offset change since Albuquerque

## Slide 6
ILC – Central Integration SB 2009 Layout
Positron Beam Direction
Electron Beam Direction
Positron Damping Ring
Electron Damping Ring
Positron Main Dump
Positron Transfer Line
Electron BDS
PTRAN Dump
Electron RTML
Left verification line in model in error. Corrected!
Very busy tunnel
Positron Spin Rotation
Positron Energy compression
Electron RTML elevator

## Slide 7
ILC – Central Integration SB 2009 Layout
Positron Main Dump.
Tunnel arrangement has been investigated previously. Next slide.

## Slide 8
ILC – Central Integration SB 2009 Layout
Previous study investigated the shielding requirement and cavern design of main Beam Dumps (Electron Main Dump shown).
Additional Electron Transfer line and e+ RTML to go in here

## Slide 9
ILC – Central Integration SB 2009 Layout
The study included the surface building requirements (Electron Main Dump shown).

## Slide 10
ILC – Central Integration SB 2009 Layout
Positron Transfer Line 5GeV Booster section
Electron BDS
Electron RTML
Electron BDS Diagnostic Dump.
5GeV Booster upstream of it (radiation concerns).
Positron Beam Direction
Electron Beam Direction
No changes here since Albuquerque

## Slide 11
ILC – Central Integration SB 2009 Layout
Positron Transfer Line 5GeV Booster section
Electron BDS
Electron RTML
Electron BDS Diagnostic Dump
Positron Beam Direction
Electron Beam Direction
No changes here since Albuquerque

## Slide 12
ILC – Central Integration SB 2009 Layout
Positron Capture Chicane
Electron BDS
Positron 400MeV Travelling Wave Accelerator Section
Positron Beam Direction
Electron Beam Direction
Photon Dump
Left verification line in model in error. Corrected!
Spin Rotation moved into Damping Ring Transfer Tunnel since Albuquerque!!

## Slide 13
Positron Capture Chicane
Electron BDS Long Drift
Electron Dump
Positron Beam Direction
Electron Beam Direction
Photon Dump
Left verification line in model in error. Corrected!
Additional Electron Dump required due to AUX Source (somewhere here).
ILC – Central Integration SB 2009 Layout
Pre-Accelerator (Travelling Wave x3 modules)
Change. The additional Electron Dump requirement identified in Albuquerque!!

## Slide 14
ILC – Central Integration SB 2009 Layout
Remote Handling Area
Next slide
AUX Source Diagnostic Dump may mean that the Source needs to be moved further upstream due to close proximity or RH area.

## Slide 15
ILC – Central Integration SB 2009 Layout
Electron BDS Long Drift
Pre-Accelerator (Standing Wave x2 modules) in Remote Handling area (shielded).
Pre-Accelerator (Travelling Wave x3 modules)
Positron target
Quarter Wave Transformer as Matching Device
Photon Collimator also in shielded area
Detail design for SW Accel. Modules now received. Remote Handling area currently under development.
Shielding removed for clarity.

## Slide 16
ILC – Central Integration SB 2009 Layout
Electron BDS ‘Dogleg’
AUX Source Diagnostic Dump may mean that the Source needs to be moved further upstream due to close proximity or RH area.
Positron Beam Direction
Electron Beam Direction
Photon Beam Direction
Additional Electron Dump required due to AUX Source (somewhere here).
AUX Source utilising Photon Beam pipe
Photon Beam pipe

## Slide 17
‘Big’ change since Albuquerque.
3 additional Undulator modules + 1 Quadrupole magnet due to ‘Low Energy requirement’.
Fast Abort Dump
Undulator section
ILC – Central Integration SB 2009 Layout
Positron Beam Direction
Electron Beam Direction

## Slide 18
ILC – Central Integration SB 2009 Layout
Fast Abort Dump line
Undulator section start
Positron Beam Direction
Electron Beam Direction
Fast Abort Dump line branching off
Service Tunnel start
Undulator Access shaft and cavern

## Slide 19
ILC – Central Integration SB 2009 Layout
Summary:
Relatively small changes since Albuquerque and Pre-AAP meeting at DESY in Dec. 2009.
To get model and layout done some guess work had to be made especially in the Damping Ring Transfer Tunnel (but these are based on conversations with WG leaders). Components there are mainly place-holders awaiting confirmation.
RTML requests have been taken into consideration. Length of elevator straight needs to be revised.
No concerns from CF&S with regards to Damping Ring Tunnel being too close to Target Hall (yet?).
Next level of detail can commence if all agree the solution presented is viable (Area System representatives) and the Undulator remains at the end of the Main LINAC (still uncertain at time of writing this).
Many thanks to all who contributed or aided otherwise.

## Slide 20
ILC – Central Integration SB 2009 Layout
Positron Source and Beam Delivery System acknowledgements:
Jim Clarke, Deepa Angal-Kalinin, James Jones and Andrei Seryi
Damping Ring acknowledgements:
Andy Wolski, Susanna Guiducci, Maxim Korostelev
RTML acknowledgements:
Nikolay Solyak
Civil Engineering acknowledgements:
John Osborne, Antoine Kosmicki (providing the presentation images), Thomas Lackowski and Vic Kuchler