SiW Ecal EUDET Module
        Roman Pöschl
        LAL Orsay
- General Schedule
- Development of Different Components
- (Towards) a working prototype

---
The groups working on the EUDET Electromagnetic Calorimeter
- What we call “EUDET Module” is in fact the next SiW Ecal CALICE Prototype
- Financial support by EU

---
Evolution of Task – JRA3 Ecal EUDET Module
  2006
  Conceptual Phase – Definition of Project Targets
  Detection of problems with Si-Wafer Guardrings and start of
  investigations for remedies
2007
  Decision to go for 0.5x0.5 cm2 Si-Wafers instead of 1x1 cm2 Wafers
  Contacting and negociations with manufacturers
   ⇒ Wafers with dimensions of 9x9cm2
     Continuation of studies for building large alveolar Structures
   Dimensions depend on wafer dimensions and constraints of
   challenging Very Front End Electronics
2008
   Decision to go for a demonstrator to allow for validation of mechanical concept
   Milestone: Design of Moulds and Alveolar Structures finished (EUDET-Memo-2008-07)‏
   Milestone: TDR of SiW Ecal EUDET Module – Details of design fixed (EUDET-Memo-2008-11)
   Delivery and Examination of 30 Si-Wafers (Hamamatsu)‏
2009
   Demonstrator built and start of thermal studies
   Demonstrator is to be taken as EUDET Deliverable!!!!
   Ordering of pieces for 'real' EUDET module in autumn 2009
   Next steps depend on progress of VFE
   Advancing the VFE has top priority
 2010-2011
   Towards the EUDET Module ?

---
EUDET Prototype
Logical continuation to the physical prototype study which validated the main concepts : alveolar structure , slabs, gluing of wafers, integration
Techno. Proto : study and validation of most of technological solutions wich could be used for the final detector (moulding process, cooling system, wide size structures,…)‏
Taking into account industrialization aspect of process
First cost estimation of one module
Technological prototype
3×15 cells
Short detector
slabs (×14)‏
Short detector
slabs (×14)‏
Long detector slab (1)‏
Complete Tower
of 4 wafers = 18×18 cm2
3 structures : 24 X0
(10×1,4mm + 10×2,8mm + 10×4,2mm)‏
sizes : 380×380×200 mm3
Thickness of slabs : 8.3 mm (W=1,4mm)‏
VFE outside detector
Number of channels : 9720 (10×10 mm2)‏
Weight : ~ 200 Kg
1 structure : ~ 23 X0
(20×2,1mm + 9×4,2mm)‏
sizes : 1560×545×186 mm3
Thickness of slabs : 6 mm (W=2,1mm)‏
VFE inside detector
Number of channels : 45360 (5×5 mm2)‏
Weight : ~ 700 Kg

---
Parties Involved
6 Laboratories are sharing out tasks in according to
preferences and localization:
        Assembling of A.S.U. (industrialization, gluing
        and tests) + backend system (DIF support)
        + services
Tests of wafers
Global Design + composite Structures
        Thin PCB with embedded ASICs
        Detector slabs integration
External cooling system
Fastening system ECAL/HCAL+composite plates
 backend system
A.S.U.
+
+ thermal cooling
Interconnection of ASU, DIF
Wafers
Alveolar
structure.
PCB + ASICs
Detector slabs
(short & long)‏
H structure





---
Module EUDET – Current Design (final – developped 2008)
Composite Part
with metallic inserts
(15 mm thick)‏
Thickness : 1 mm
FEV5
Thickness :
FEV5-1 : 1.17mm (+-0.04)‏
FEV5-2 : 1.19mm (+-0.04)‏
FEV5-3 : 1.20mm (+-0.02)‏
 Gaps (slab integration) : 500 µm
 Heat Shield: 400 µm ? Validation with the
 PCB : 800 µm ~1200 µm
 Thickness of Glue : 100 µm
 Thickness of SiWafer : 325 µm
 Kapton® film HV : 100 µm ?
 Thickness of W : 2100/4200 µm (± 80 µm)‏
Heat shield: 100+400 µm
(copper)‏
demonstrateur
PCB: 1200 µm
PCB: 1200 µm
glue: 100 µm
glue: 100 µm
Kapton ® film:
100 µm
wafer: 325 µm
wafer: 325 µm
550 mm
1510 mm
182,1 × mm
182,1 × mm
7,3
9,4
550 mm

---
        Assembly of Demonstrator
- Detector module realised (from mechanical point of view)‏
- Demonstrator subject to a thermal test
1300mm

---
Thermal Test
To study thermal behaviour of detector module
Inserted
Thermal Layer
- Detector Module realised
  from mechanical point of view
- Thermal test important for DBD

---
Assembly Tools – Handling of fragile layers
Handling by vacuum lifter
Line of
ASU
Positioning
of Vacuum
Lifter on
ASU Line
Vacuum
Lifter
(Careful) handling
of ASU Line established
- Detector Assembly needs
  more tools and an assembly
  hall (to be built at LAL during
  autumn winter 2010/11)
Vacuum
Lifter
Line of
ASU

---
EUDET – Product layer (3/3)
Layer 7.3
 6/10 “Alveolar EUDET layer” structure : On going
Layer 9.4
 3/5 “Alveolar EUDET layer” structure : On going

---
EUDET– Assembly Mould
Now, here is the EUDET assembly mould :
 Global design : OK
 W and Carbon Needs : OK
 Detailed design description : OK
 Ordered : OK
 Reception part : July 2010
 Assembly : October 2010
ALUMINUM CORES
(45 cores, 15 references)
Adjusted
cores
Composite plate (15mm)
Alveolar layer
structure (15)
Composite plate
(2mm)
Adhesive film :
(Structil 1035)
Autoclave pressure
(1 to 7 bars)
W plate
Silicone part with the mould
(180 Parts, 8 references)
[Speaker Notes: 31/08/10]

---
First SLAB prototype (03/07/09)
Detector InterFace
FEV7_CIP
Adapter Board (dev)

---
FEV7-CIP: with SPIROC2 in TQFP208
Easy to manufacture
Interconnections tests: peoformed successfully (P. Cornebise)
Perfect for DIF debug
Fits the H structure
2 boards are equipped with 1 chip and 1 PCB equipped with 4 chips
On the board access to :
Analogue Output
DAC and Bandgap Output
On the connector, access to :
Every common digital line
[Speaker Notes: FEV7-CIP câblée en tests au LLR]

---
Prototype on test bench
- CALICE DAQ about
to be interfaced with the
first prototype
- Expect working system
during auoumn 2010
- A number of issues
regarding firmware
have been solved in the
past year

---
FEV7-COB: with SPIROC2 COB
Front End Board using Chip-On-Board (spiroc2=208 pads)
Nearly Identical to Chip-In-Package FEV7
  - Schematics identical
  - Same number of channels
  - Same pinout on Adapter Board/Slab Connector
Except :
  - Pads connections to chip pins
  - Position of Wafer on the bottom side
  - Thickness: thinner to comply with H alveolar structure

---
PIN Diodes Silicon Sensors
Designed for ILC : Low cost, 3000 m2 Minimized number of manufacturing steps
Target is 2 EUR/cm2
Now : 15 EUR/cm2
Use of floating guard-rings
Known issues
Dead space optimization
Guard-rings do not collect charges
Dead space to be reduced
EUDET layout
Prototype from Hamamatsu
Hit map from physics
prototype
256 P-I-N diodes
0.25 cm2 each
18 x 18 cm2 total area

---
Conclusion and Outlook
- Technical Design finished in Oct. 2008
  Preparation of Demonstrator Tests since then
- During 2010 - studies with the demonstrator
  - Measurement for thermal analysis
  - Assembly of alveolar structure finished
  - Integration tools for long slab very well advanced
Demonstrator studies
cover most if not all aspects described in EUDET proposal

---
Conclusion and Outlook cont'd
- Towards the EUDET Module
- Focus of getting the VFE accomplished
- “Shipping” signals out
   Interface to the DAQ is addressed
- Results with first ASU expected in the coming month
   Depends on development of DAQ interface
- Construction of Alveolar Structure for 'real' EUDET Module proceeds well
- Cost for Silicon wafers is an issue (well beyond EUDET matters)