## Slide 1
ILC CFS AND GLOBAL
SYSTEMS MEETING
CONVENTIONAL FACILITIES
AND SITING GROUP
CFS Summary
V. Kuchler, J. Osborne, A. Enomoto

## Slide 2
Main CFS Focus
  CFS Workshop at Daresbury Laboratory, UK
    July 12-13, 2010
    Focus on Mechanical and Electrical Criteria Update
    Area Systems, e+ Source, Damping Ring, Beam Delivery System and MDI/Detectors
  CFS Workshop at SLAC Laboratory, US
    August 2-3, 2010
    Focus on Mechanical and Electrical Criteria Update
    Area Systems, e- Source, RTML, Main Linac and MDI/Detectors
  CFS Group Prepared a Set of Questions and Spreadsheets that were Distributed to Area Systems Representatives Prior to the Meetings

## Slide 3
Daresbury Attendees
  Project Management
    M. Ross, N. Walker, E. Paterson, P. Garbincius (via Webex)
  CFS
    V. Kuchler, L. Hammond, R. Wielgos, A. Enomoto,
    M. Miyahara, M. Terunuma, M. Gastal
  e+ Source
    J. Clarke, N. Collomb
  Damping Ring
    S. Giuducci (via Webex), M. Palmer
  BDS
    D. Angal-Kalinin
  MDI and Detectors
    A. Seryi, P. Burrows

## Slide 4
Daresbury Progress
  e+ Source
    Base Criteria was Reviewed and Some Adjustments were Made
    The Issue of Number and Size of Dumps Needs to be Re- Evaluated and Finalized
  Damping Ring
    Existing Criteria is Correct However There are New Requirements for a Water-Cooled Buss System
    Criteria will be Developed for the New Power Distribution Requirements and it’s Effect on the Tunnel Cross Section Configuration
    CFS Needs to Study Alternative Ambient Tunnel Temperatures (94F and 77F)
    Basis of CFS Tunnel Design should be Large Enough to Accommodate One Electron Ring and Two Positron Rings

## Slide 5
Daresbury Progress cont.
  BDS
    Spreadsheets for Power Supplies, Magnet Numbers and Magnet Power Need to be Updated
    A. Seryi will Update “Environmental Requirements in BDS”
    CFS will Investigate the Most Sensitive Areas of the BDS and Determine if Segmenting with Respect to Ambient Temperature is the Right Approach
    N. Collomb will Develop a Spreadsheet with BDS Magnet Information
  MDI/Detectors
    M. Gastal Provided an Update of CLIC Detector Hall Design Progress
    P. Garbincius Provided an Overview of Items Included in the Detector Estimates
    P. Burrows Presented a Criteria Spreadsheet for the SiD for CFS Criteria

## Slide 6
SLAC Attendees
  Project Management
    M. Ross, A. Yamamoto, E. Paterson, P. Garbincius (via Webex)
  CFS
    V. Kuchler, L. Hammond, R. Wielgos, A. Enomoto,
    T. Lackowski (via Webex)
  e- Source
    A. Brachman, J. Sheppard
  RTML
    N. Solyak (via Webex)
  Main Linac
    C. Adolphsen, C. Nantista, S. Fukuda and T. Shidara (via Webex)
  MDI and Detectors
    SiD - M. Breidenbach, M. Oriunno T. Markiewicz
    ILD – K. Sinram, Y. Sugimoto, T. Sanuki

## Slide 7
SLAC Progress
  e- Source
    Base Criteria is the Same as RDR Except for a 5% Increase Due to Geometry Changes
    The Issue of 5 Hz to 10 Hz Operation will Increase the Electrical Power and Heat Loads for the e- Source
    Issues on the Number of Dumps Needs to be Revisited
    e- Source will Not be the Driver for Temperature Stability in the BDS Enclosures
  RTML
    Some Discrepancies were Noted in the Criteria Tables and will be Corrected
    6 of the Original 42 Cryomodules will Remain in the RTML
    The Remaining 36 Cryomodules will be Added to the Main Linac
    Again the Issue of the Number of Dumps was Noted as Needing Review

## Slide 8
SLAC Progress cont.
  MDI/Detectors
    Frank and Productive Discussions Helped to Identify Fundamental Issues That Need to be Addressed
    Shielding Around the Beampipe During Commissioning
    Regional Geological Constraints and Characterization
    Dimensional Differences Between the Two Detectors
    Platform Requirements for the ILD Detector
    No Platform Required for SiD
    Unique Requirements for a Mountain Site
    M. Oriunno Needs Geologic Information to Complete Vibration Modeling for Detectors – CFS Will Help to Compile
    CFS Will Develop a Design for a Flat, Post-Tensioned Floor for the IR Hall
    No Shielding Wall is Required Between the Detectors
    Mechanical Heat Loads and Electrical Requirements are in Line with Current CFS Design

## Slide 9
SLAC Progress cont.
  Main Linac
    Surface Building Configuration Studies for the Klystron Cluster RF Alternative were Presented
    Marx Modulator Configuration was Shown to Reduce the Equipment Footprint Required – CFS will Adjust Surface Building Studies to Reflect Marx Configuration
    C. Nantista will Update Criteria for Main Linac
    DRFS Tunnel Diameter is Now 5.7 M Diameter
    Americas Region will Review Tunnel Cross Sections and Provide Uniform Dimensioning for all Tunnel Components and Clearances Required and Provide to all Regions for Consistent Tunnel Cross Section Development
    A Tour of the Marx Modulator Configuration was Provided