## Slide 1: Improved resolution of Questar-based optical inspection system
Mingqi Ge and Genfa Wu
Aug 30, 2010

## Slide 2: Optical inspection technique at Fermilab
Kyoto optical inspection system
Questar inspection system
Kyoto system:
1.3GHz 9-cell cavity
1.3GHz single-cell cavity
Questar system:
1.3GHz 9-cell dressed cavity
1.3GHz single-cell cavity
3.9GHz 9-cell cavity
3.9GHz single-cell cavity
1.3GHz Traveling wave cavity
Spoke cavity
650MHz SRF cavity

## Slide 3: Questar system

## Slide 4: What’s new
Before
Now
New digital camera: Canon EOS 5D mark II (21 Mpixel, ISO: 50 - 25600 expansion, 1080p HD video)
Stronger floor stand: Heavy duty.

## Slide 5
Questar system
Kyoto system
100% cropped image from center
 | Resolution (lp/mm)
Questar | 181
Kyoto | 32
Resolution comparison between Kyoto and Questar system

## Slide 6: Cavity images comparison
Questar system
Kyoto system

## Slide 7: 100% image

## Slide 8: Future works
To improve lighting.
To build automatically moving stages.