SDHCAL software status
Gérald Grenier
IPN Lyon, Université Lyon 1
ILD Software pre-meeting, LAL, Orsay May 22nd 2011

---
Mokka simulation
Available in ilcsoft v01-11 :
GRPC with detailed implementation
Tracking of a Geantino through the RPC
  1 -844 -1.9e+03 365 4e+04 0 2.11e+03 2.11e+03 BarrelHcalModule	Transportation
  2 -853 -1.92e+03 369 4e+04 0 21.8 2.13e+03 physiRPCFree	Transportation
  3 -853 -1.92e+03 369 4e+04 0 0.402 2.13e+03 physiRPCmylarCathode	Transportation
  4 -853 -1.92e+03 369 4e+04 0 0.196 2.13e+03 physiRPCGraphiteCathode	Transportation
  5 -853 -1.92e+03 369 4e+04 0 0.0544 2.13e+03 physiRPCThickGlass	Transportation
  6 -854 -1.92e+03 369 4e+04 0 1.2 2.13e+03 physiRPCGap	Transportation
  7 -854 -1.92e+03 370 4e+04 0 1.31 2.14e+03 physiRPCThinGlass	Transportation
  8 -855 -1.92e+03 370 4e+04 0 0.761 2.14e+03 physiRPCGraphiteAnode	Transportation
  9 -855 -1.92e+03 370 4e+04 0 0.0544 2.14e+03 physiRPCmylar	Transportation
10 -855 -1.92e+03 370 4e+04 0 0.0544 2.14e+03 physiRPCPCB	Transportation
11 -855 -1.92e+03 370 4e+04 0 1.31 2.14e+03 physiRPCElectronics	Transportation
12 -856 -1.93e+03 370 4e+04 0 1.74 2.14e+03 BarrelHcalModule	Transportation

---
Mokka simulation
Available in ilcsoft v01-11 :
GRPC with detailed implementation
GRPC sensitive detector with Videau barrel geometry or TESLA barrel geometry
Hit position
withsingle muon :

---
Mokka simulation
Available in ilcsoft v01-11 :
GRPC with detailed implementation
GRPC sensitive detector with Videau geometry or TESLA geometry
Easy to choose between geometries and options
In the steering file for Mokka :
/Mokka/init/detectorModel ILD_01pre00
/Mokka/init/EditGeometry/rmSubDetector ShcalSc03
 #TESLA GEOMETRY
/Mokka/init/EditGeometry/addSubDetector SHcalRpc02 110
#VIDEAU GEOMETRY
#/Mokka/init/EditGeometry/addSubDetector SHcalRpc01 110
#For TESLA GEOMETRY, CAN CHOOSE BETWEEN DETECTORS
#/Mokka/init/globalModelParameter Hcal_sensitive_model scintillator
/Mokka/init/globalModelParameter Hcal_sensitive_model SDRPC
/Mokka/init/globalModelParameter Hcal_cells_size 10

---
Mokka simulation
Available in ilcsoft v01-11 :
GRPC with detailed implementation
GRPC sensitive detector with Videau barrel geometry or TESLA barrel geometry
Easy to choose between geometries ans options
Missing item :
Endcaps and Endcap Rings still with scintillators in all cases.
Work started to put GRPC there too.
Code written locally
Not yet debugged
No cables nor services in simulation (not a big effect for Videau geometry).

---
Digitisation
Transform GEANT4 deposited energy to induced charge.
Measure GRPC Analog signal with cosmic muon
GRPC 0.12cm
preamp
gate
QDC
Scintillator
Charge Spectrum Cosmic Test Set Up
64 Channels, trigger area < Channel area
Analog readout
Charge(pC)
Polya-distribution:
Cosmic Charge
Polya Fit
7400V Polya Fitting

---
Digitisation
Transform GEANT4 deposited energy to induced charge.
Measure GRPC Analog signal with cosmic muon
Simulate it in Marlin Processor and compare with data

---
Digitisation
Transform GEANT4 deposited energy to induced charge.
Measure GRPC Analog signal with cosmic muon
Simulate it in Marlin Processor and compare with data
The Marlin Processor can also simulate the 3 thresholds.
Calibrate the 3 Thresholds with single K0L and Pandora.
Pandora made compatible with Videau geometry.

---
Multiplicity
Spread of the induced charge
KIRK T. MCDONALD’s lecture
{ sqrt{2} a} over %pi
At low order, equivalent to a 2D gaussian with width
Dispatching induced charge on more than one cell for tracks on the cell border.
Parameter a tuned to data
1.0cm
d

---
Multiplicity
Spread of the induced charge
Dispatching of induced charge in more than one cell
Comparison between standalone GEANT4 program (not Mokka) and data : it works
(note : standalone GEANT4 protoype simulation produces LCIO files)

---
Multiplicity
Spread of the induced charge
Dispatching of induced charge in more than one cell
Implementation in Marlin, need track position inside the cell :
wait for LCIO v2
Randomly draw track position inside the Cell (Marlin Processor written)
Mokka simulation with 1mm2 cells and rebuild 1cm2 cells in Marlin (Marlin processor written)

---
Multiplicity
Dispatching of induced charge in more than one cell
Implementation in Marlin, need track position inside the cell :
Mokka simulation with 1mm2 cells and rebuild 1cm2 cells in Marlin (Marlin processor written)

---
Multiplicity
Dispatching of induced charge in more than one cell for tracks on the cell border
Options		pros	cons
Marlin processor	Wait for LCIO v2	Flexible, / Realistic, / Tested against data.	Not written / Size of Mokka output (detailed shower+position)
	Random draw of track position	Marlin processor exists	Not exactly right. / Not yet tested against data / Size of Mokka output (detailed shower)
	1mm2 simulation	Marlin processor exists / Size of Mokka output kept low / Tuned to reproduce mean data multiplicity and mean hit efficiency. / Can be used for GEM,mMEGAS,...	Not yet fully tested against data. / Change of geometry while running Marlin (GEAR?)
Mokka	Perform it in simulation	Tested against data for many thresholds. / Size of Mokka output low / Can simulate with the right cell size	Energy to induced charge should also be put there. / No flexibility to retune parameters. / Code not yet ported to Mokka.

---
Analysis tools
Marlin processors written :
Use of PandoraPFANew
Code have been updated to deal with Videau geometry
Some other minor stuff to implement (gap between modules)

---
Analysis tools
Marlin processors written :
Use of PandoraPFANew
Code have been updated to deal with Videau geometry
Some other minor stuff to implement (gap between modules)
Minimum Spanning Tree
For PID and Energy Estimation

---
Analysis tools
Marlin processors written :
Use of PandoraPFANew
Code have been updated to deal with Videau geometry
Some other minor stuff to implement (gap between modules)
Minimum Spanning Tree
Fractal Dimension
For PID and Energy Estimation
f(a)={ln left ( N_{b} over N_a right )} over {ln left( a over b right )} ; FD = langle f(a) rangle
a>b; a=nb
b=1mm
Na number of hits for cell surface = a
b=1mm
b=10mm
PID performance :

---
Conclusion
Geometry simulation :
Barrel simulation ready, in Mokka and debugged
Endcap simulation : debug GRPC as sensitive detector.
Simulation of induced charge and threshold effects :
Ready
Debugged
Tested against data
Multiplicity simulation:
Physics understood
Tested against data
Technical solution to choose.
Reconstruction :
Update of Pandora started.
Some advanced tools using SDHCAL fine granularity already developped.
Testbeam data :
Testbeam DAQ produces LCIO files.
For more details, see CALICE meetings talks :
https://indico.cern.ch/getFile.py/access?contribId=41&sessionId=6&resId=1&materialId=slides&confId=136864
http://indico.cern.ch/getFile.py/access?contribId=19&sessionId=5&resId=0&materialId=slides&confId=136864
http://indico.cern.ch/getFile.py/access?contribId=28&sessionId=5&resId=0&materialId=slides&confId=136864