## Slide 1: FONT5 Board Tests
D. R. Bett

## Slide 2: Summary of Tests
ADC noise tests, low signal level test
  Switched to LT firmware (no ring clock)
DAC test
  Changed scope bandwidth to 25 MHz
Trim DACs
  Rob fixed DAQ

## Slide 3: Board #2 – Channel 9
Usual firmware
½ ring clock period

## Slide 4: Board #2 – Channel 9
Long Train firmware

## Slide 5: Board #1

## Slide 6: Board #2

## Slide 7: Board #2 – Channel 6, Trigger 1
Long Train firmware
~ 3 µs

## Slide 8
Long Train firmware
Board #2 – Channel 7, Trigger 1

## Slide 9
Usual firmware
½ ring clock period
“travelling” noise

## Slide 10: Board #1

## Slide 11: Board #2

## Slide 12
Bandwidth  25 MHz
0
127

## Slide 13: Board #2 (usual firmware)

## Slide 14: Conclusions
ADC noise on Board #2
  Removing ring clock eliminates “stable” noise
  “Intermittent” noise remains on channels 6 & 7
DAC tests
  Realistic bandwidth looks fine
Trim DACs
  Misunderstanding in DAQ corrected