## Slide 1: Work Plan for ATF Visit
D. R. Bett

## Slide 2: Equipment checklist
Items in Oxford that need to be taken out:
  Both FONT5 boards
  BPM processors (8) + matched cables
  DT9854 module + interface board
  Both working kicker amplifiers

## Slide 3: Damage survey
The following components should be tested to see if they sustained damage:
  Cables from tunnel to eel’s bedroom (EB)
    Monitor signals in tunnel
  BPMs
  Kickers
  Movers
    Exercise using LabVIEW interface

## Slide 4: Other tasks
Phase shifter calibration
  Prepare FONT PC
    Install DT9854 module
    Install required MATLAB components
  Load GUI with ‘null’ calibration (Φ = V)
  Measure response of phase shifters (how?)

## Slide 5: Set up (1)
Usual 3 processors on 3 BPMs
Prepare 2 heliax for ydif, sum
Parasitically take following data:
  BPM mover calibrations (+corrector)
  Kicker calibrations
REVIEW RESULTS, then plan for ACCESS

## Slide 6: Tentative - Set up (2)
Split P2 y outputs 4-way
  Have 3 BPMs on board #1, 1 on #2 (in EB)
Advantages
  Gives good idea of resolution
  Each BPM has own ADC bank
  Can assess feasibility of two board running
Disadvantages
  Complex

## Slide 7: Option - Set up (3)
Retain 4 processors on 1 BPM but…
  Forget about FONT5 board #2
    Each ydif/sum is no longer paired

## Slide 8: Summary of Work Plan
Check system components for damage
  Calibrate phase shifters
Set up for beam during the week
  Plan to have signals for 4th processor in EB