## Slide 1: FONT Meeting 29th June
1/9
Mikey Davis
29th July 2011
Changes to the DAQ

## Slide 2
2/9
Mikey Davis
29th July 2011
Experimental Lab Setup Before
FONT5 Board
FONT4 Board
Separate Test Setups
357 Clock
Lab PC
Kentec
“Collin’s Magic Box”
714 Clock
Lab Scope
BPM
Trigger
LO
Phaser

## Slide 3
3/9
Mikey Davis
29th July 2011
Experimental Lab Setup Now
FONT5 Board
FONT4 Board
Same Test Setup
357 Clock
Lab PC
Kentec
“Collin’s Magic Box”
714 Clock
BPM
Digital Delay Generator
LO
Phaser (PC)

## Slide 4
  Means you can test the setup as a whole
  This includes LO phasing scheme also controlled by PC
  Not good enough to do resolution tests (to much jitter)
4/9
Mikey Davis
29th July 2011
Experimental Lab Setup

## Slide 5
5/9
Mikey Davis
29th July 2011
LO Phase Calibration
Chart: Normalised Phase Shift
| 0 | 0.5 | 1 | 1.5 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5 | 8 | 8.5 | 9 | 9.5 | 10
Normalised Phase in Rad | 0 | 13.5 | 28 | 45 | 66 | 91 | 117.7 | 140 | 156.7 | 167.8 | 175.5 | 181.8 | 185 | 188 | 190.3 | 192.3 | 194 | 195.5 | 196.7 | 197.9 | 198.8

## Slide 6
  Gone through and tidied it up a bit in places
  Left the basic architecture the same
  Begun trying to automate some of the calibration methods
  Started with phasing the LO
  Automatically takes data files, then runs analysis script
  Controls LO Phase module from DAQ
6/9
Mikey Davis
29th July 2011
Changes to the DAQ

## Slide 7
7/9
Mikey Davis
29th July 2011
Changes to the DAQ

## Slide 8
8/9
Mikey Davis
29th July 2011
Changes to the DAQ

## Slide 9
9/9
Mikey Davis
29th July 2011
Changes to the DAQ