## Slide 1: Cooling and Heating Exercises
Adam Para, Fermilab
August 5, 2011

## Slide 2
(Later stages of) Initial cooling:
Set point = 30K
Time axis in minutes
Refill
Set point = 113K

## Slide 3
Initial temperature ~120K. Set point = 120 K,
turn on. Time axis in 0.1 minutes
Temperature
Power

## Slide 4
Initial temperature =120K. Set point = 120 K,
turn on. Time axis in 0.1 minutes
Temperature
Power
Refill

## Slide 5
Change temperatures. Time axis in 0.1 minutes.
Temperature
Power
Set T=140K
Set T=30K

## Slide 6
Temperature
Power
Change temperatures, by 20K. Time axis in 0.1 minutes
Set T=140K

## Slide 7
Temperature
Power
Change temperatures, by 20K, settling.
Time axis in 0.1 minutes
Set T=30K

## Slide 8
Temperature
Power
Cooling down from 140K.. Time axis in 0.1 min
Set T=30K
Refill