Obtaining the Dual Readout Correction
Introduction
Definitions
Motivation
The steps involved
Calculate ks, kc
Obtain the dual readout correction function fcorr(C/S)
Obtain energy response and energy resolution for single particles
Where to find and how to run the scripts
Hans Wenzel
Fermilab
Sept. 30th 2011

---
Definitions
- Ein: energy of incident particle.
- Edep: represents measurement of deposited Energy in Calorimeter (by ionizing particles) e.g. represented by
  - deposited energy as reported by Geant 4.
  - number of scintillation photons.
  Assuming electrons deposit all energy in the calorimeter:
  Ein(e) = ks x Edep(e)= S
- ECeren: represents measurement of Energy deposited in form of Cerenkov radiation e.g. represented by number of Cerenkov photons. For electrons Eceren is assumed (we check it) to be directly proportional to Edep and Ein :
  Ein(e) = kC x ECeren(e)= C
- For electrons:
  C/S = 1
- Dual read out correction: Ein = S / fcorr(C/S)

---
Motivation
- Corrections ks, kc, fcorr(C/S) depend on:
  - physics list
  - Detector configuration
  - Selections cuts (e.g. timing, threshold, clustering, etc..... )
  - What quantity we are measuring
  - .....
- Therefore ks, kc, fcorr(C/S) need to be estimated for each configuration --> need to automate the procedure (especially with the Grid spitting out results fast :(
- Automation is fine but keep the raw distributions:
  - Leakage --> leads to over corrctions (not handled yet)
  - Effects like non-continous physics list can have strange effects (QGSP_BERT is a good example)

---
Steps involved
- Use mono-energetic electrons of various energies to determine ks, kc
- Use mono energetic pions (and electrons) to obtain fcorr(C/S).
- Use mono energetic pions to check the result.
  - Apply Dual readout correction
  - Check energy response and energy resolution.

---
DRCal detector used in this exercise
Crystal size in x,y,y: 5 cm
Nr. of cells in x,y,z: 40
Crystal Material : G4_BGO
Crystal Density : 7.13 [g/cm3]
Crystal interaction length: 22.6937 [cm]
Crystal radiation length: 1.11801 [cm]
Crystal total length (z,y,z): 200 [cm]
# interaction length (x,y,z): 8.81301
(ignore material of silicon photo dets.
total # of IA length: 0.0524555)
Physics list: (the infamous) QGSP_BERT
No thresholds, no clustering

---
Electron energy response
Scintillation:
Ein(e) =ks x Edep(e)
        =1.0068 x Edep(e)
        =S
1/ks
Cerenkov:
Ein(e) = kC x Eceren(e)
= 0.000015 x Eceren(e) =C
1/kC
Using multiple energies to verify
Linear response

---
Calibrated Energy response for single pions
S
Cerenkov

---
Obtaining the dual readout correction function
Pions
electrons
Make slices in C/S
 fit gaussian to S/Ein distribution

---
Dual Readout Correction function
Ein = S / fcorr(C/S)

---
 Dr corrected energy response for single pions.

---
DR corrected energy resolution

---
Where to find and how to run the scripts
Everything is in CVS (Work in Progress)
DRCalRoot/Event/Calibration.C
To run it in ROOT type:
.L libEvent.so
.L Calibration.C
init("infiles.txt");
CalE();
Tbrowser b;