## Slide 1
1
Mikey Davis
07 October 2011
BPM Processor Improvmentnts

## Slide 2: BPM Processor Improvements
Everything that needs to be made is in the process of being made or is done
Everything that needs to be ordered has been ordered
We have a prototype, seems to work
Work has begun on taking the measurements for the LO cable and offsetting the differences between the sum and difference
number
Mikey Davis
07 October 2011

## Slide 3: Time Difference Between Sum and Difference vs Processor No.
number
Mikey Davis
07 October 2011
Chart: Processor No.
| 1 | 2 | 3 | 4 | 5 | 7 | 8 | 10
 | 0.95 | 0.9 | 1.7 | 0.8 | 1.1 | 1.15 | 1.6 | 1