## Slide 1: BPM Processor Improvements: Update
1/5
Mikey Davis
14 October 2011

## Slide 2: Update
Currently at the final assembly stage.
4 For this trip done today
LO Cables not done properly (see later slides)
2/5
Mikey Davis
14 October 2011

## Slide 3: Results
3/5
Mikey Davis
14 October 2011
Chart: Time Difference Betweem Sum and Difference vs Processor No.
| 1 | 2 | 3 | 4 | 5 | 7 | 8 | 10
Sum I Before | 0.95 | 0.9 | 1.7 | 0.8 | 1.1 | 1.15 | 1.6 | 1
SumQ Before | 1.12 | 0.93 | 1.59 | 0.72 | 1.01 | 1.13 | 1.57 | 0.94
SumI After | 0 | 0 | 0.02 | 0.05 | 0.06 | 0.05 | 0 | 0.15
SumQ After | 0.16 | 0.03 | 0.01 | 0.03 | 0.08 | 0.02 | 0 | 0.13

## Slide 4: Results
4/5
Mikey Davis
14 October 2011
Chart: Time Difference Betweem Sum and Difference vs Processor No.
Dif After | 24.42 | 24.46 | 24.48 | 24.45 | 24.53 | 24.42
Sum I After | 24.42 | 24.46 | 24.41 | 24.46 | 24.54 | 24.3
Sum Q After | 24.35 | 24.55 | 24.55 | 24.39 | 24.49 | 24.45
Dif Before | 22.15 | 22.2 | 21.45 | 22.25 | 22.15 | 22.1 | 21.7 | 22.2
Sum I Before | 23.1 | 23.1 | 23.15 | 23.05 | 23.25 | 23.25 | 23.3 | 23.2
Sum Q Before | 23.22 | 23.01 | 23.06 | 22.85 | 23.14 | 23.21 | 23.13 | 23.06

## Slide 5: Results
5/5
Mikey Davis
14 October 2011
Chart: Optimum LO Phase vs BPM Processor
| 1 | 2 | 3 | 4 | 5 | 7 | 8 | 10
First Attempt | 12.375 | -0.625 | 10.375 | -2.625 | 5.375 | -22.625 | 2.375 | -4.625
Second Attempt | 6.5 | -4.5 | 6.5 | -4.5 | 4.5 | -8.5 | 4.5 | -4.5
Post Cables | 0.25 | 9.25 | 5.25 | 5.25 | 8.25 | -17.75 | -1.75 | -8.75
Best Attempt | 11.1667 | -0.83333 | -161.8333 | -2.8333 | 5.1667 | -8.8333 | -161.8333 | -3.8333