## Slide 1: Geant4 simulation for converter efficiency
Neutronproton recoiling efficiency in a polyethylene [C2H4]n layer coming from 241Am-9Be source
Incident neutron spectrum
According to ISO 8529(*)

## Slide 2: Geant4 simulation for converter efficiency
Neutronproton recoiling efficiency in a polyethylene [C2H4]n layer coming from 14MeV neutron

## Slide 3
Data analysis and results
Electronic Gain = 360 fc
Vmesh = 300V
Electronic Gain = 120 fc
Vmesh = 300V
Electronic Gain = 600 fc
Vmesh = 320V
Electronic Gain = 360 fc
Vmesh = 300V
Electronic Gain = 120 fc
Vmesh = 350V
Operating gas gain < 1500 and electronics full-scale gain set  360 fC in order to cut the gamma-rays and cosmics events

## Slide 4
64mm plastic(polyethylene) in front of the detector
Vmesh = 300V Electronic Gain = 360
Cluster size is maximum at ~5
Uniform time spectrum
Data analysis and results