## Slide 1: Further Investigations into the LO
1/7
Mikey Davis
10 February 2012

## Slide 2: Lo Over a Long Run
2/7
Mikey Davis
10 February 2012
Red Fitted Sine Wave
Blue 100 point Moving Average
Magenta 300 Point Moving Average

## Slide 3: Lo Over a Long Run
2/7
Mikey Davis
10 February 2012
Red Fitted Sine Wave
Blue 100 point Moving Average
Magenta 300 Point Moving Average

## Slide 4: FFT of the Signals
3/7
Mikey Davis
10 February 2012

## Slide 5: FFT of the Signals
4/7
Mikey Davis
10 February 2012

## Slide 6: FFT of the Signals
5/7
Mikey Davis
10 February 2012
Period of Approx. 12 Mins
Period of Approx. 50 Seconds

## Slide 7: FFT of the Signals
6/7
Mikey Davis
10 February 2012

## Slide 8: FFT of the Signals
7/7
Mikey Davis
10 February 2012
Period of Approx. 2.5 Seconds