## Slide 1: Proposed ATF Visit
1/5
Mikey Davis
24 February 2012

## Slide 2: March ATF Trip
I proposed a trip in March to Phil to take some “un-sexy” results that I however felt were needed
The results would only require a skeleton crew
Finally I envisaged only me and Nevan travelling so we can ensure early we can set up and run the FONT system
2/5
Mikey Davis
24 February 2012

## Slide 3: March ATF Trip
Using the calibration software I’ve developed to get some plots I could put in my thesis to show it actually worked.
Some much more detailed LO phase scans, these would have the two fold use of a) going in my thesis and b) doing a more rigorous test to see how stable we are to LO jitter.
A LO scan with a longer run at each point to try and gauge an idea experimentally of how LO jitter affects the resolution.
A much more detailed mover scan, with much longer runs at each step to get a plot of resolution against position.
Some very long runs, just in single bunch mode that I can then look at in detail, especially under a Fourier analysis for things like slow LO and Position drift.
I would also like to try and take some of the very first measurement steps looking at the cavity bpms (Honda – san’s electronics), instrumenting one with a FONT V board and trying to set up
3/5
Mikey Davis
24 February 2012

## Slide 4: Cavities
I have been speaking with Honda-san about the current IPBPM
They are located at the IP and currently plugged into SLAC electronics
There are available heliax to send the signals outside the tunnel to the S-Band BPM rack
4/5
Mikey Davis
24 February 2012

## Slide 5: LO Improvements
I understand Colin and Glenn have made a breakthrough with the LO distribution
I think this really should take precedence over the other things as is more important
5/5
Mikey Davis
24 February 2012