## Slide 1: Analysis of cavity BPM data recorded on 13 June 2012
N. Blaskovic

## Slide 2: Contents
Improved since presentation in June:
  I, Q, I’ vs. sample number
  ADC counts at chosen sample vs. setting
New analysis:
  Scatter plot of Q vs. I
  Theta vs. sample number
  I, Q jitter dependence on sampling window
  BPM pseudo-calibration using AQD0FF scan
  Cavity BPM resolutions using SVD
N. Blaskovic

## Slide 3: I, Q, I’ vs. sample number
Updates:
  I and Q are charge normalised
  I’ is calculated using the from the AQD0FF mover setting being studied
Reminder:
  I’ is proportional to position
N. Blaskovic
  (Doug)

## Slide 4
N. Blaskovic

## Slide 5: ADC counts vs. file setting
File setting means AQD0FF mover setting
Only sampling at two sample numbers:
  Peak sample = 94
  Saturation free sample = 131
Updates:
  Following through the fact that I’ is now correctly calculated
N. Blaskovic

## Slide 6
N. Blaskovic

## Slide 7
N. Blaskovic

## Slide 8: Scatter plot of Q vs. I
Single sampling point
Single BPM
Each circle is a trigger
Each colour is an AQD0FF mover setting
Lines of fit can be made to each mover setting (shown) or to whole plot

## Slide 9: Scatter plot of Q vs. I
Scatter points removed to visualise fits to individual mover settings
Lines in red deviate from global graph fit by more than 22.5 degrees
Saturated data is removed

## Slide 10
N. Blaskovic

## Slide 11: Theta vs. sample number
Combine the individual plots (one plot for every sample number) from the previous slide to produce against sample number
Allow for sample numbers after bunch arrival to avoid discontinuities

## Slide 12
N. Blaskovic
AQD0FF mover setting (um) colour coding
bold black line: average

## Slide 13
N. Blaskovic
AQD0FF mover setting (um) colour coding
bold black line: average

## Slide 14: Jitter vs. sampling window
Integrate I and Q over a window of sample numbers
Look at the jitter in I and Q as a function of sample window start and end
Jitter is divided by window width (i.e. number of sample numbers in window) to allow comparison
A single file is analysed (AQD0FF: 50 um)

## Slide 15
N. Blaskovic
ADC counts / charge
sample number
IPA - I

## Slide 16
N. Blaskovic
ADC counts / charge
sample number
IPA - Q

## Slide 17
N. Blaskovic
ADC counts / charge
sample number
saturation
saturation
flat surface
IPB - I

## Slide 18
N. Blaskovic
ADC counts / charge
sample number
IPB - Q

## Slide 19: BPM pseudo-calibration
AQD0FF single mover scan only allows pseudo-calibration
Two mover scan required for correct calibration (Young-Im)
Find gradient of I’ / mover position
ambiguity in gives sign ambiguity in I’ as

## Slide 20: BPM pseudo-calibration
At sample number 95:
IPA
IPB
Gradient:
-108.897 ADC counts / (10^10 electrons * um)
Gradient:
108.701 ADC counts / (10^10 electrons * um)

## Slide 21: Cavity BPM resolution
Using singular value decomposition (SVD)
Following Young-Im et al. (2012)
  http://prst-ab.aps.org/pdf/PRSTAB/v15/i4/e042801
Resolutions (um) using Epics position data
  Data: QD0FFscan1_106um_137.2A_130612.epx
 | PREIP | IPA | IPB | PIP
Neven: using 4 BPMs | 61.51 | 0.45 | 3.36 | 20.45
Neven: using all BPMs | 5.15 | 0.40 | 2.71 | 2.73
Young-Im: using all BPMs | 3.76 | 0.40 | 2.59 | 2.66

## Slide 22: Spares

## Slide 23
N. Blaskovic

## Slide 25: Plots
1/Plot 1 <column header> per plot 1 1 <column header> only
1/SP 1 <column header> per subplot Proc Processed
1/Line 1 <column header> per line Mean Averaged
Axis <column header> used as axis
 | File setting | Sample number | Trigger | BPM
I, Q, I’ vs. sample number | 1/Plot | Axis | 1/Line | 1/SP
ADC counts at chosen sample vs. file setting | Axis | 1 | Mean | 1/Line
Scatter plot of Q vs. I | All | 1/Plot | All | 1/SP
Theta vs. sample number | 1/Line | Axis | Proc | 1/Plot
I, Q jitter dependence on sampling window | 1 | Axis | Proc | 1/Plot
Pseudo-BPM calibration using AQD0FF scan | Axis | 1/Plot | All | 1/Plot