## Slide 1: RF Measurements and Documentation for the Industrial Fabrication of SC Cavities.
Alexey Sulimov,
DESY (Hamburg), 28 May 2013
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)
Change the partner logos or add others in the last row.

## Slide 2: RF aspects of quality control for XFEL cavities
RF aspects of quality control for XFEL serial cavities.
RF Measurements and Documentation for the Industrial Fabrication of SC Cavities
IPAC’11

## Slide 3: Production Sequence
Production sequence:
Cavity parts fabrication,
Cavity welding,
Cavity tuning,
Welding in helium tank (HT),
Pressure test (PT),
Cavity transport.
EDMS
XFEL Data Base
V_F01x16;
V_F02;
V_F03;
W_F01x8;
W_F02;
W_F03;
X_HCP;
X_M01;
X_F01;
X_M02;
X_F02;
X_M03;
X_F03;
Y_M01;
Y_F01;
Y_F02;
Y_F03.
Inspection Sheets for RF control:
Notes: Before you start editing the slides of your talk change to the Master Slide view:
Menu button “View” > Slide Master:
Edit the following items:
1. On the Title slide (second master slide)
a) Click to add title of your talk
b) Click to add subtitle (conference, location, name of the speaker, date)
2. On the Slide Master (first master slide)
a) The 1st row in the violet header: Delete the existent text and write the title of your talk into this text field b) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area.
Close Master View

## Slide 4: Cavity parts fabrication
Cavity parts fabrication:
Shape control for half cells (HC), end groups (EG) and dumb-bells (DB);
DBs asymmetry control;
Calculation of optimal parts lengths;
DBs sorting in cavity;
Estimation of cavity length in helium tank.

## Slide 5: Cavity Welding (Acceptance Level 1)
After cavity welding:
Measure the pi-mode frequency and cavity length;
Control the welding parameters (shrinkage and deformation);
Calculated the cavity length in helium tank.

## Slide 6: Cavity Tuning
Values are controlled during cavity tuning:
pi-mode frequency,
field flatness (FF),
cavity length,
cavity cells eccentricity.

## Slide 7: Welding in Helium Tank and Pressure Test (Acceptance Level 2)
Welding in helium tank, pressure test:
Control of pi-mode frequency during the rings with bellow and HT welding;
Checking of RF parameters (Fpi, FF) before and after HT and PT.

## Slide 8: Cavity Transport (Acceptance Level 3)
To estimate Field Flatness (FF) changes the two spectra have to be compared:
Reference spectrum SP2 can be downloaded from XFEL DB (it’s a spectrum with known value of FFref)
N = 9 – number of cavity cells, measured spectrum SP1 = {fi}, SP2 = {Fi}, where i = 1…N.
Relative spectrum is calculated as:
RS = {Ri} = {Fi/fi – FN/fN}, where i = 1…N.
Linear Fit is calculated for relative spectrum:
L = {Li} = linear_fit{Ri}, i = 1…N
Mean squared error is calculated as:
Mean spectrum frequency deviation is calculated as:

## Slide 9: Conclusion
V_F01x16;
V_F02;
V_F03;
W_F01x8;
W_F02;
W_F03;
X_HCP;
X_M01;
X_F01;
X_M02;
X_F02;
X_M03;
X_F03;
Y_M01;
Y_F01;
Y_F02;
Y_F03.
Inspection Sheets for RF control:
EDMS
XFEL Data Base
39 documents X 800 cavities
31200 documents
312 documents / week

## Slide 10: Acknowledgements
We appreciate:
company E.Zanon for possibility to present the data.
IPP DESY group for supporting the EDMS and data transfer.
DESY Data Base Team for organizing the automation of data analysis.

## Slide 11: THANK YOU !
Thank you all for attention !