## Slide 1: Test Bench
Wenxin Wang
11/12/2012

## Slide 2: Test Bench
S1F_fem2 S3B-fem7 S8G-fem4
S4E-fem3 S7H-fem1 S9A-fem2

## Slide 3: Disconnected Pads

## Slide 4: Cross-talk

## Slide 5: Energy resolution
Energy Resolution (preliminary) :~13% rms
Gain ~2600
(using collimated source)

## Slide 6: Stability
5h
10h
5h
10h
Mean ADC of cluster as a function of time
Energy resolution as a function of time

## Slide 7: Six modules (B=1T)
(b): After alignment
df= 2.9 , 2.1 and 2.2 mrad
dx = 47 µm, -43 µm and -52 µm
Row Number: 3 x 24 = 72 Displacement in mm
(a): Before alignment
One module has 1726 pads (24 rows x72 columns)