## Slide 1
D. Attié
7-Module Crosstalk
Notes: I’m here to present a TPC review

## Slide 2: Some events: all have crosstalk

## Slide 3: Event selection with overflowed signals

## Slide 4: Crosstalk size ~12 %
436
477
3845
3845

## Slide 5: Detector routing

## Slide 6: Detector routing

## Slide 7: ASIC inputs
31
30
34
33

## Slide 8: ASIC inputs
34
33

## Slide 9: ASIC inputs
31
30

## Slide 10: Conclusion
Crosstalk not coming from detector board routing or FEC board routing
ADC clock misalignment while reading analog output signal from ASICs?