## Slide 1: Frascati Phase Monitors at CTF3
FONT Meeting 20/12/12
Jack Roberts

## Slide 2: Overview
Two (out of three) Frascati phase monitors installed and working at CTF3.
Analysis of data collected on 10/12/12 (120 pulses):
  Signals and removal of bad pulses
  Correlation between the two monitors
  Resolution estimate
  Time alignment
  Comparison with BPR532

## Slide 3: Location
Frascati Monitors
(M1 and M3)
BPR532

## Slide 4: Signals
Diode Channel
Mixer Channel
M1: c = -1.9398, M3: c = -1.2066

## Slide 5: Removal of “Bad” Pulses
Some of the recorded pulses aren’t full (klystron issues).
These pulses are removed by applying the following cuts:
  Using the diode channel.
  Pulse width = time span with
  Require:

## Slide 6: Mean Pulse Profile – Whole Range

## Slide 7: Mean Pulse Profile – Pulse Range

## Slide 8: Mean Pulse Profile – Pulse Tail

## Slide 9: Correlation

## Slide 10: Correlation – Pulse Range
Correlation ~0.995 for sample numbers 375-510.
This range used for estimates of resolution etc.

## Slide 11: Correlation – Near End of Pulse
Seems like a fairly minor deviation.
Not related to oscillating behaviour seen after the pulse in M3.

## Slide 12: Difference Between M1 and M3
Used to estimate the resolution…

## Slide 13: Resolution Estimate
Resolution Estimate:
Mean ~0.6o
Minimum ~0.4o at sample 429.

## Slide 14: Time Misalignment?
Some evidence to suggest that M3 is offset by ~one sample with respect to M1

## Slide 15: M3 Shifted By One Sample
M3 and M1 appear to be in better alignment.
In some areas (not shown) a shift of one sample may bring M3 before M1.
Measured correlation and resolution after shift does not improve.
  Not pursued further.

## Slide 16: Comparison with BPR532
BPR532 phase varies between ~-25o and +5o
Frascati monitor phases vary between ~5o and 65o.
BPR532 phases have opposite sign to Frascati monitors.
  Calibration constants different for this dataset?

## Slide 17: Comparison with BPR532
Small features in BPR seem to match Frascati monitors.

## Slide 18: Recalculating Calibration Constants
If c is a calibration constant to match the Frascati monitors to the BPRs, the correct values for this data are:
      M1: c ~ 0.4 M2: c ~ 0.2
BPR532 phase measurement goes through zero

## Slide 19: Summary
The correlation between the two Frascati phase monitors is extremely good (coefficient ~ 0.995).
The resolution currently achievable is ~0.6o.
There is inconclusive evidence to suggest that the M3 signals arrive one sample later than M1.
The magnitude of the phases measured by the Frascati monitors and BPR532 appear to be very different.
  Unsure where the calibration constants come from.