## Slide 1: Electrical wiring for piezo movers piezo power supply strain gauges readout temperature probes

## Slide 2: Overview : the way to connect from IP chamber to control room : - piezo movers (power supply and strain gages readout), - temperature probes. Overview by flange : the wiring on the flange : - inside the IP chamber, - outside. Detail for the 2 flanges : an example of a equipped flange : - vacuum connectors, - equipped flange with feedthroughs, - external connectors and cables. Overview of the existing at LAL : LAL wiring uses to perform tests of piezo movers : - piezo movers, - movers command box, - inputs / outputs electronics, - laptop with NI Labview software. Existing ADC / DAC : equipment bought and used by LAL : - National Instruments (NI) modules, The LAL need at KEK : necessary equipment to connect LAL electronics to KEK control room : - an example given by National Instruments (NI) modules. Conclusion
Summary

## Slide 3
4 movers command box (Cedrat)
Analog inputs & outputs
Connecting cable for mover (25 m)
DAC
ADC
16 bits / +-10 v
24 bits / +-10 v
DAC
ADC
16 bits / +-10 v
24 bits / +-10 v
Linking box
4 movers command box (PI)
Analog inputs & outputs
PI movers (BPM3)
Cedrat movers (BPM1&2)
Linking box
Overview
temp probe* (BPM3)
temp probe* (BPM1&2)
T. probe*
Connecting cable for Temp probe (25 m)
4 wires
* To be defined
Link to control room*

## Slide 4
Φ252 mm flange*
*Not supplied by LAL
Inside ip chamber 6E-8 mbar
Outside ip chamber (air pressure)
Vacuum removable connectors
4 Electrical feedthroughs*
Outside removable connectors
3 Connecting cables (25 m)
Analog inputs & outputs
Linking box
4 movers command box
Overview per flange
Electrical wiring for piezo movers
Temp probe (4 wires)
1 Connecting cable (25 m)
4 movers
1 Temp probe
Notes: Frédéric BOGARD – LAL/IN2P3/CNS – 13-01-25

## Slide 5
Detail for the 2 flanges
Electrical wiring for piezo movers
P.Cornebise SERDI-LAL
Thanks to
2x4 Connectors subD9 female (Ceramic UHV)
Small crimp pins
2x4 Connectors subD9 female 2x4 metal covers subD9
2x1 flange with 4 feedthroughs subD9 male for each flange
(feedthoughs position on the flange surface : KEK discretion)
Inside ip chamber 6E-8 mbar
Outside ip chamber (air pressure)
KEK supply
Strain gauges connectors
Piezo power supply connectors
Temp probe connectors
2x 4x25m ‘7 S/FTP’ cable
Notes: Frédéric BOGARD – LAL/IN2P3/CNS – 13-01-25

## Slide 6
4 movers command box (Cedrat)
Analog inputs & outputs
DAC
ADC
16 bits / +-10 v
24 bits / +-10 v
DAC
ADC
16 bits / +-10 v
24 bits / +-10 v
4 movers command box (PI)
Analog inputs & outputs
Overview of the existing at LAL
USB link
Labview interface
PI movers (BPM3)
Welding wire to wire
Welding wire to wire
Cedrat movers (BPM1&2)
2 wires (piezo power supply)
4 wires (strain gauges readout)

## Slide 7
PI mover (x4)
4 wires (strain gauges readout)
2 wires (piezo power supply)
Electrical wiring for piezo movers
Existing ADC / DAC at LAL
DAC module 16 bits / +-10V (output x4)
NI 9239
NI 9263
ADC module 24 bits / +-10V (input x4)
Cedrat mover (x4)
4 wires (strain gauges readout)
2 wires (piezo power supply)
DAC module 16 bits / +-10V (output x4)
ADC module 24 bits / +-10V (input x4)
NI 9239
NI 9263
Rack for 4 modules NI cDAQ 9174
USB link for Labview interface
Notes: Frédéric BOGARD – LAL/IN2P3/CNS – 13-01-25

## Slide 8
Electrical wiring for piezo movers
The LAL need at KEK
Ethernet / RS432-485 / … link to connect with KEK control room
Output : DAC piezo power supply 16 bits / +-10Vc (input x4)
Input : ADC strain gauges readout 24 bits / +-10V (input x4)
x2
x2
Input : ADC Temp probe readout (PT100 / PT1000) (input x4)
x1
These electronic modules must be connected to the control room devices at KEK. No preference for National Instruments (NI), Keyence…
For example
Notes: Frédéric BOGARD – LAL/IN2P3/CNS – 13-01-25

## Slide 9: Distance from IP chamber (warm zone) to movers / temp probes electronics (cold zone) : - 25 m. Temperature probes : - need inside IP chamber ? How many (1 for BPM1&2 / 1 for BPM3) ? - heating wire wound around the chamber to maintain constant the temperature ? KEK ? Flanges supply : - flanges with feedthroughs to be supplied by KEK ? - subD9 male feedthrough as purposed by LAL ? Electronics to connect to control room devices : - LAL supply with NI modules and Labview software ? - or KEK supply with LAL specs ? - USB / RS 485 / ethernet link ?
Electrical wiring for piezo movers
Conclusion
Notes: Frédéric BOGARD – LAL/IN2P3/CNS – 13-01-25