## Slide 1: Review of 30/01/13 Shift
1/Number
Mikey Davis
31 January 2013

## Slide 2: Introduction
2/Number
Mikey Davis
31 January 2013
Try and build on the success of the previous trips
Aims were
  Test to see the affects of the upstream kick
  Retest the affects of upstream feedback
  Test the feed forward cable – actually kick the beam
  Try and make feed forward work
Two things to think about
  What to do next shift (Friday)
  What to bring home (just so we remember)

## Slide 3: Affects of Upstream Kick
3/Number
Mikey Davis
31 January 2013
Courtesy of YoungIm

## Slide 4: Affects of Upstream Kick
4/Number
Mikey Davis
31 January 2013
Courtesy of YoungIm

## Slide 5: Coarse IP Waist Scan
5/Number
Mikey Davis
31 January 2013

## Slide 6: Fine IP Waist Scan
6/Number
Mikey Davis
31 January 2013

## Slide 7: Fine IP Waist Scan
7/Number
Mikey Davis
31 January 2013

## Slide 8: IP BPM Calibrations
8/Number
Mikey Davis
31 January 2013
From last weeks shifts it was apparent that:
  It was difficult to correlate the BPMs in two bunch mode as you tended to saturate on of the bunches
  There is something off about the upstream charge measurement during the calibrations
With this in mind
  We did 4 calibrations this time
  One for each bunch in each BPM
  Waist centred at the BPM you were calibrating

## Slide 9: IP BPM Calibrations
9/Number
Mikey Davis
31 January 2013

## Slide 10: IP BPM Calibrations
10/Number
Mikey Davis
31 January 2013
I was concerned about IPB second bunch having a higher jitter than the first bunch
This has been explained:
  I found a bug in my code
  The charge for bunch one and bunch two during calibration is different
  This difference then follows through all analysis
  Acts like a scaling factor
I will show examples of IPrime and Pos, I think we should use pos

## Slide 11: Ext Kicker Timing Study
11/Number
Mikey Davis
31 January 2013

## Slide 12: Upstream Feedback
12/Number
Mikey Davis
31 January 2013
As I said we have some evidence that this was having a positive effect at the IP
Problem is it’s a small effect and therefore easy to miss
Bunch to Bunch correlation was again very bad
  Around 90pc
Charge is low
  Limits the resolution
  0.7 – 1 μm in the runs I’ve looked at
Upstream the feedback isn’t having a great effect

## Slide 13: Upstream Feedback
13/Number
Mikey Davis
31 January 2013

## Slide 14: Upstream Feedback
14/Number
Mikey Davis
31 January 2013

## Slide 15: Upstream Feedback
15/Number
Mikey Davis
31 January 2013
File Name | IPB_fBposFbOffS | IPB_fBposFbOnS | IPB_sBposFbOffS | IPB_sBposFbOnS
fbRun2_Board2_270113 | 4.110959673 | 4.240028861 | 3.775445054 | 4.78189598
fbRun3_Board2_270113 | 3.13761347 | 3.319464938 | 2.90949938 | 3.392662127
fbRun5_0.8Gain_Board2_270113 | 3.035764113 | 3.377131868 | 2.723924904 | 2.611554907
fbRun6_0.7Gain_Board2_270113 | 3.910302357 | 4.00606952 | 3.536395383 | 3.022695871
fbRun7_0.6Gain_Board2_270113 | 3.644620473 | 3.555804584 | 3.251811456 | 2.880490219
fbRun8_0.5Gain_Board2_270113 | 3.369260649 | 4.240547495 | 2.9461129 | 2.863566407
fbRun9_0.7Gain_Board2_270113 | 3.671081323 | 4.024180332 | 3.798058557 | 3.800200511
fbRun10_0.7Gain_Board2_270113 | 3.452492033 | 4.270821251 | 2.947891984 | 3.831728373

## Slide 16: Feed Forward
16/Number
Mikey Davis
31 January 2013

## Slide 17: IPK Scan
17/Number
Mikey Davis
31 January 2013

## Slide 18: Feed Forward
18/Number
Mikey Davis
31 January 2013

## Slide 19: Feed Forward
19/Number
Mikey Davis
31 January 2013

## Slide 20: Feed Forward
20/Number
Mikey Davis
31 January 2013