## Slide 1: Preliminary analysis results of Micromegas beam test

## Slide 2
Missing pads

## Slide 3
Gain (B=1T)
2012: Sum of the charge in each row
2013: Each hit’s charge using MarlinTPC

## Slide 4
PRF
Fitting row by row to get PRF parameter a &b

## Slide 5
Event & track selection
Throw multi-tracks events
Keep the event with only one track which has 10 hits at least
After track selection, only central module used in analysis

## Slide 6
72 rows
Resolution for each row

## Slide 7
Residuals for rows (middle module)

## Slide 8
Residuals for rows (middle module)

## Slide 9
Resolution (middle module)
B=1T, Vmesh=380V, Ed=230V/cm, Peaking time 100ns

## Slide 10
Residual (B=0T, Phi=0o)

## Slide 11
Distortions

## Slide 12
Distortions

## Slide 13
Distortions