## Slide 1: Energy measurement with Micromegas res. foil
Wenxin Wang
LCTPC – 10th analysis meeting

## Slide 2: 55Fe Event

## Slide 3: Module S8G

## Slide 4: Modules

## Slide 5: Test with Beam
Gain =
= 2053
Only using center module (S10X)
For 6.84 mm pitch and 5 GeV e-
Expectations for Ntot: 61.9
(from HEED simulation)