## Slide 1: Baseline runs
N. Blaskovic

## Slide 2: Introduction
‘Baseline runs’ were taken where only the LO was supplied to the homodyne second stage electronics, with no IP BPM signal:
LO
FONT5 or SIS
terminated
I
Q

## Slide 3: Reference cavity LO
Noise jitter (in ADC counts):
  using FONT5 board with different 2nd stages
  using SIS digitiser (which 2nd stage?)

## Slide 4
N. Blaskovic
2nd stage 07-3
Reference cavity LO, FONT5 board

## Slide 5
N. Blaskovic
2nd stage 07-3
2nd stage 06-2
Reference cavity LO, FONT5 board

## Slide 6
N. Blaskovic
Reference cavity LO, SIS digitiser

## Slide 7: Other sources of LO
Noise jitters (in ADCs) for other LOs:
  Damping ring LO
  Signal generator 714 MHz LO
Record of which 2nd stage modules used not found.

## Slide 8
N. Blaskovic
Damping ring LO,
FONT5 board
Signal generator LO,
FONT5 board

## Slide 9: Summary
 | Noise jitter (ADC counts)
Using FONT5 board | 6~17
Using SIS digitiser | 4~14
Noise jitter is affected by homodyne 2nd stage module. Noise jitter may also be affected by choice of LO and/or digitiser.

## Slide 10: Appendix
Digitiser | Noise jitter (ADC counts) | Scale factor (um/ADC)
FONT5 | 6~17 | 0.005
SIS | 4~14 | 0.01
Scale factor given by Mikey obtained from a calibration with beam at a homodyne variable attenuator setting of 0 dB.

## Slide 11: Appendix
Over the following slides, waveforms for baseline runs taken
  using FONT5 digitiser on 16 Apr 2013
  using SIS digitiser on 24 Apr 2013

## Slide 12
N. Blaskovic

## Slide 13
N. Blaskovic

## Slide 14
N. Blaskovic

## Slide 15
N. Blaskovic

## Slide 16
N. Blaskovic

## Slide 17
N. Blaskovic

## Slide 18
N. Blaskovic

## Slide 19
N. Blaskovic

## Slide 20
N. Blaskovic