## Slide 1: Roundup of FONT Shifts June Run Week 1 2013
1/12
Mikey Davis
7 June 2013

## Slide 2: Introduction
Today we concentrated on beam correction
  Achieved correction in the IP region using:
    Upstream feedback
    Upstream -> downstream feedforward
    IP feedback
Convincing sets of results for all three
Multiple runs over multiple QD0FF and gain settings
Got some very good upstream feedback results
2/12
Mikey Davis
7 June 2013

## Slide 3: Upstream Feedback
Many runs taken
  Different gains
  Different QD0FF strengths (jitters)
Repeated correction in both IPA and IPB
Very good agreement upstream with model\
Bunch to bunch correlations of between
  80 – 85% for P2
  90 – 95% for P3
  Ext kicker timing scan didn’t improve this
3/12
Mikey Davis
7 June 2013

## Slide 4: Upstream Feedback
4/12
Mikey Davis
7 June 2013

## Slide 5: Upstream Feedback
5/12
Mikey Davis
7 June 2013

## Slide 6: Upstream -> Downstream Feed Forward
6/12
Mikey Davis
7 June 2013
Got more stable gain calculations than last time
  I used charge norm position which worked better
  Upstream fb to downstream second bunch
Not much higher bunch to bunch correlations
  Around 70 %
  Need to look more at this as not sure it’s always this

## Slide 7: Upstream Downstream Feed Forward
7/12
Mikey Davis
7 June 2013

## Slide 8: IP Feedback
8/12
Mikey Davis
7 June 2013
Managed to get many runs with an improvement on the jitter
Scanned QD0FF strength to change the amount of jitter
Maybe see an improvement at IPA
  Not convinced
Bunch to bunch correlations of about 95% when not limited by resolution

## Slide 9: IP Feedback
9/12
Mikey Davis
7 June 2013

## Slide 10: IP Feedback
10/12
Mikey Davis
7 June 2013