## Slide 1: Fourier transforms of baseline runs
N. Blaskovic

## Slide 2: Introduction
N. Blaskovic
Baseline runs taken with LO input to homodyne 2nd stage but no IPBPM input
Particular baseline run presented here was taken in single bunch mode on 16th April
Slide 3 contains waveforms (I on ADCs 1 and 4; Q on ADCs 2 and 5)
Slide 4 contains FFT of individual triggers, and in bold, the average over all FFTs

## Slide 3: ZPUL3 power supply
It was found that the wires carrying the 24 V supply to ZPUL3 made an intermittent connection to the ZPUL.
Re-soldering the wires to the ZPUL led to a stable connection.
N. Blaskovic

## Slide 4: ZPUL3 power supply
It was found that the wires carrying the 24 V supply to ZPUL3 made an intermittent connection to the ZPUL.
Re-soldering the wires to the ZPUL led to a stable connection.
N. Blaskovic