## Slide 1: IP cable plan
N. Blaskovic

## Slide 2: Contents
Cable plan for IP kicker and new IP BPMs, including cables to S-band hut
Options considered:
  homodyne 2nd stage electronics in S-band hut
  homodyne 2nd stage electronics in tunnel
N. Blaskovic

## Slide 3: Maximum accessibility
N. Blaskovic
IPK
Inside the tunnel
IPA(Y)
IPB(Y)
IPC(Y)
IPA(X)
IPB(X)
IPC(X)
Colin’s box
Homodyne 1st stage electronics
TMD
Ref
Homodyne 2nd stage electronics
FONT5 board(s)
monitors
kicker trigger
kicker signal
714 MHz
Ring clock
Trigger
I
Q
I
Q
I
Q
I
Q
I
Q
I
Q
monitors
LO
Alternative LO
RG58
Heliax
FONT5 board
for 2nd board
for 2nd board
for 2nd board

## Slide 4: ‘All in’
N. Blaskovic
IPK
Inside the tunnel
IPA(Y)
IPB(Y)
IPC(Y)
IPA(X)
IPB(X)
IPC(X)
Colin’s box
Homodyne 1st stage electronics
TMD
Ref
Homodyne 2nd stage electronics
FONT5 board(s)
monitors
kicker trigger
kicker signal
714 MHz
Ring clock
Trigger
I
Q
I
Q
I
Q
I
Q
I
Q
I
Q
monitors
LO
Alternative LO
RG58
Heliax
FONT5 board
for 2nd board
for 2nd board
for 2nd board

## Slide 5: Conclusion
N. Blaskovic
 |  | RG58 | Heliax
Currently installed |  | 6 | 12
Proposed | Maximum accessibility | 4 | 9
 | All electronics in tunnel | 8 | 4
The number of cables required between the IP and the S-band hut is:
RG58 signals can be carried by heliaxes