## Slide 1: ATF cable plan
N. Blaskovic

## Slide 2: Contents
List of available cables
Cable plans for:
  Extraction line, local control room, C-band hut
  IP, S-band hut
N. Blaskovic

## Slide 3
N. Blaskovic
Extraction line  LCR |  |  |  | LCR  C-band hut |  |  | C-band hut  S-band hut |  |  | S-band hut  IP | 
checked 10 Mar 2013 |  |  |  | checked 9 Apr 2013 |  |  | checked 13 Oct 2012 |  |  | checked 13 Oct 2012 | 
RG58 | Heliax |  |  | RG58 | Heliax |  | RG58 | Heliax |  | RG58 | Heliax
1 | 1 | A2 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1
2 | 2 | B1 |  | 2 | 2 |  | 2 | 2 |  | 2 | 2
3 | 3 | B2 |  | 3 |  |  | 3 | 3 |  | 3 | 3
4 | 4 | E |  |  |  |  | 4 | 4 |  | 4 | 4
5 | 5 | F |  |  |  |  | 5 | 5 |  | 5 | 5
6 | 6 |  |  |  |  |  | 6 | 6 |  | 6 | 6
7 | 7 |  |  |  |  |  |  | 7 |  |  | 7
8 | 8 |  |  |  |  |  |  |  |  |  | 8
9 | 9 |  |  |  |  |  |  |  |  |  | 9
10 | 10 |  |  |  | OK |  |  |  |  |  | 10
 | 11 |  |  |  | Not tested |  |  |  |  |  | 11
 | 12 |  |  |  | Broken |  |  |  |  |  | 12

## Slide 4
C-band hut
N. Blaskovic
K2
trigger
signal
K1
TMD
TMD
monitors
trigger
signal
P1(X)
P2(X)
P3(X)
P1(Y)
P2(Y)
P3(Y)
Processors
FONT5 boards
Ring clock
ATF trig
LO
714
MHz
Clock distribution
357 MHz
Fan
Fan
714 MHz
357 MHz
357 MHz
357 MHz
Phase shifters
Ctrl
monitors
monitors
357 MHz
357 MHz
714 MHz
ATF trigger
Ring clock
IPK trigger
LCR
S-band hut
RG58
Heliax
feedforward cable
Extraction line
Upstream cable plan

## Slide 5
S-band hut
IP/S-band hut
N. Blaskovic
IP
RG58
Heliax
357 MHz
357 MHz
714 MHz
ATF trigger
Ring clock
IPK trigger
IPK
IPA(Y)
IPB(Y)
IPC(Y)
IPA(X)
IPB(X)
IPC(X)
Homodyne 1st stage electronics
TMD
Ref
Homodyne 2nd stage electronics
FONT5 boards
monitors
signal
trigger
I
Q
I
Q
I
Q
I
Q
I
Q
I
Q
monitors
LO
Alternative LO
Fan
Fan
feedforward cable
Downstream cable plan

## Slide 6: Summary
N. Blaskovic
 |  |  | Current |  | Required | 
 |  |  | RG58 | Heliax | RG58 | Heliax
extraction line |  | LCR | 8 | 13 | 13 | 12
LCR |  | C-band hut | 3 | 2 | 3 | 3
C-band hut |  | S-band hut | 6 | 7 | 3 | 3
S-band hut |  | IP | 6 | 12 | 4 | 9
(Required numbers of cables exclude spares)