## Slide 1: FONT shift report
Glenn Christian Young-Im Kim Mikey Davis Neven Blaskovic

## Slide 2: Introduction
Used new IP BPMs with KNU electronics
Variable attenuator worked well
IP BPM movers used successfully
Signals digitised using FONT5 board
N. Blaskovic

## Slide 3
N. Blaskovic
IPA(Y) I
IPA(Y) Q
IPB(Y) I
IPB(Y) Q
IPB(Y) I
IPB(Y) Q
Ref(X)
Ref(Y)
unused

## Slide 4: IP BPM calibration
IP BPM calibration done using 2 methods:
  IP BPM mover scan
    IPA & IPB motion: 31.25 um/V
    IPC motion: -30 um/V
  AQD0FF mover scan
    Beam at IPA moves 1.45 x AQD0FF position
    Beam at IPB moves 1.46 x AQD0FF position
    Sensitivity at IPC not yet simulated
N. Blaskovic

## Slide 5
N. Blaskovic
IPA mover scan
waist at IPA
attenuator 0 dB
* um in calibration refers to beam position (um) at BPM
*

## Slide 6
N. Blaskovic
AQD0FF scan
waist at IPA
attenuator 0 dB
* um in calibration refers to beam position (um) at BPM
*

## Slide 7: IPA calibration
Variable attenuation (dB) | Calibration using BPM mover ((ADC/ADC)/um) | Calibration using AQD0FF mover ((ADC/ADC)/um)
0 | -3.95, -3.35 | -3.55
10 | -1.45 | -1.50
20 | -0.42 | -0.40
N. Blaskovic
Attenuation effect as expected
Agreement between 2 calibration methods

## Slide 8: IPA, IPB and IPC calibration
IP BPM | Calibration using BPM mover at 20 dB attenuation ((ADC/ADC)/um)
IPA | -0.42
IPB | -0.58
IPC | -0.50
N. Blaskovic

## Slide 9
N. Blaskovic
attenuator
20 dB
IPA(Y) I
IPA(Y) Q
IPB(Y) I
IPB(Y) Q
IPB(Y) I
IPB(Y) Q
Ref(X)
Ref(Y)
unused
waist at IPB

## Slide 10
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Beam waist at IPB
Beam centred in y at IPB
attenuator
20 dB
waist at IPB

## Slide 11: Outlook
IP BPMs
  Beam centred through 3 IP BPMs
  3-BPM resolution calculation at different attenuator settings
FONT P1-P2-P3 stripline BPM system
  Operate using 3 stripline phase shifters
MFB1FF stripline BPM
  P2-P3-MFB1FF resolution
  Position over FONT kicker scans & feedback
N. Blaskovic

## Slide 12: Appendix
IP BPM calibration plots (22nd November 2013)

## Slide 13
N. Blaskovic
IPA mover scan
waist at IPA
attenuator 10 dB

## Slide 14
N. Blaskovic
AQD0FF scan
waist at IPA
attenuator 10 dB

## Slide 15
N. Blaskovic
IPA mover scan
waist at IPA
attenuator 20 dB

## Slide 16
N. Blaskovic
AQD0FF scan
waist at IPA
attenuator 20 dB

## Slide 17
N. Blaskovic
IPB mover scan
waist at IPB
attenuator 20 dB

## Slide 18
N. Blaskovic
IPC mover scan
waist at IPC
attenuator 20 dB