## Slide 1: Octopuce-3 test @ CEA Saclay
Jan Timmermans

## Slide 2: Octopuce-3 (on the way to a LC-TPC module)
Construction and test of 8-Ingrid (Octopuce) module by Jan Timmermans (+ CEA Saclay)
Cosmics, laser tests, DESY testbeam 3/2014
524k pixels of 55x55 (μm)2
Cosmic interacting in wall of gas testbox

## Slide 3
To show the ‘invisible’?
Cosmic interacting in wall of gas testbox

## Slide 4
8 Ingrids on daughter board
LPTPC with 7 detector slots
inside1 T solenoid

## Slide 5: HV wire-bond connection

## Slide 6: 90Sr Integral 1000 frames
(Internal) boundaries seem narrower than for
Octopuce-1 run in 2010

## Slide 7: Event 862

## Slide 8: Event 1865

## Slide 9: Event 1895

## Slide 10: Event 2194

## Slide 11: Event 2468

## Slide 12: Event 2580

## Slide 13: Event 3722

## Slide 14: Event 3889

## Slide 15: Event 3987

## Slide 16: Event 4298

## Slide 17: Event 4554

## Slide 18: Plans Jan-Feb 2014 (preparations beam test)
Modification testbox (quartz entry window for N2 laser)
Modification LP module frame (adapt to Octopuce + guard height)
Construct and electronics test Octopuce-4
  As spare mezzanine module
  Eventually prepare as LP module
  Possibly simultaneous readout of two Octopuce modules
Hope for testbeam at LP (end-of-Feb or 1st week March)