## Slide 1: SIS3316 external clock
D. R. Bett

## Slide 2: sample_test.vi
enable/disable external trigger
configure digitizer (sis3316_udp_setup.vi)

## Slide 3: sis3316_udp_setup.vi
read setup.txt file
write data to digitizer (sis3316_udp_write.vi)

## Slide 4: SIS3316 clock distribution
p11 of SIS3316 User Manual
SI570

## Slide 5: setup.txt
communicate with Si5325 clock multiplier
set clock multiplexer to 0 (internal clock)

## Slide 6: Si5325 via SPI
31 | 30 | 29 | 28 | 27 | 26 | 25 | 24 | 23 | 22 | 21 | 20 | 19 | 18 | 17 | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
execute SPI read/write command p82 of SIS3316 User Manual
Register 0x54 SIS3316_NIM_CLK_MULTIPLIER_SPI_REG
Set Address instruction
p91 of Si53xx Family Reference Manual
Selected address
Write instruction
Write data
CKOUT_ALWAYS_ON = 0 BYPASS_REG = 1
p19 of Si5325 data sheet

## Slide 7
Signal | Requirements | Selected
 | Min : 10 MHz Max : 710 MHz | 357 MHz
 | Min : 10 MHz Max : 157.5 MHz : 1 to 219 | 3 119 MHz
 | Min : 4850 MHz Max : 5670 MHz : even in the range 32 to 512 | 44 5236 MHz
 | : 1 or even to 220 : in the range 4 to 11 | 11 2 238 MHz
Signal | Requirements | Selected
 | Min : 10 MHz Max : 710 MHz | 
p13 of SIS3316 User Manual

## Slide 8: Si5325 register map
p17 of Si5325 data sheet