## Slide 1: IP BPM studies with Honda’s electronics
Neven Blaskovic with Wunghoa Park Oscar Blanco Alexis Gamelin
N. Blaskovic

## Slide 2: Introduction
Connected IPB(Y) to Honda electronics
Identified delay in reference signal path
Compensated delay by cable for IPB(Y)
Waveforms
Calibrations at a range of RF attenuations
N. Blaskovic

## Slide 3
N. Blaskovic
BPF
Amplifier
Limiter
~714 MHz Ref(Y)
~714 MHz IPB(Y)
Mixer
~714 MHz Ref(Y)
before BPF
~714 MHz IPB(Y)
before mixer

## Slide 4
N. Blaskovic
BPF
Amplifier
Limiter
~714 MHz Ref(Y)
~714 MHz IPB(Y)
Mixer
~714 MHz Ref(Y)
before amplifier
~714 MHz IPB(Y)
before mixer

## Slide 5
N. Blaskovic
BPF
Amplifier
Limiter
~714 MHz Ref(Y)
~714 MHz IPB(Y)
Mixer
~714 MHz Ref(Y)
before limiter
~714 MHz IPB(Y)
before mixer

## Slide 6
N. Blaskovic
BPF
Amplifier
Limiter
~714 MHz Ref(Y)
~714 MHz IPB(Y)
Mixer
~714 MHz Ref(Y)
before mixer
~714 MHz IPB(Y)
before mixer
30 ns

## Slide 7
N. Blaskovic
BPF
Amplifier
Limiter
~714 MHz Ref(Y)
~714 MHz IPB(Y)
Mixer
~714 MHz IPB(Y)
before mixer
~714 MHz Ref(Y)
before mixer
30 ns

## Slide 8
N. Blaskovic
BPF
Amplifier
Limiter
~714 MHz Ref(Y)
~714 MHz IPB(Y)
Mixer
~714 MHz IPB(Y)
before mixer
~714 MHz Ref(Y)
before mixer
delay cable

## Slide 9
N. Blaskovic
~714 MHz Ref(Y)
before mixer
I mixer output
RF attenuator 0 dB

## Slide 10
N. Blaskovic
I mixer output
RF attenuator 0 dB

## Slide 11
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)
unused
unused
unused
unused
unused
P2 ΣI

## Slide 12
N. Blaskovic
IPB mover scan
waist at IP
attenuator 50 dB

## Slide 13
N. Blaskovic
IPB mover scan
waist at IP
attenuator 40 dB

## Slide 14
N. Blaskovic
IPB mover scan
waist at IP
attenuator 30 dB

## Slide 15
N. Blaskovic
IPB mover scan
waist at IP
attenuator 20 dB

## Slide 16
N. Blaskovic
IPB mover scan
waist at IP
attenuator 10 dB

## Slide 17
N. Blaskovic
IPB mover scan
waist at IP
attenuator 0 dB