## Slide 1: Shift Report - 19 June 2014
D. R. Bett

## Slide 2: IP feedback
Most of this shift devoted to Oscar and Alexis’ BPM alignment studies
At ~0500, access taken to restore the IP feedback channel assignment and the necessary delay cables (ADC5 = , ADC8 =, ADC6/9 = )
A second access had to be taken when no signal could be observed on ADC9; as no cabling defect was found, splitter replaced

## Slide 3: Significant skew on
5 sample delay between I and Q required for feedback

## Slide 4: IPFByCal1_0dB

## Slide 5: IPFBxCal1_10dB

## Slide 6: jitRun7

## Slide 7: QF1FFzScan1

## Slide 8: QD0FFzScan1

## Slide 9: jitRun8

## Slide 10: IPFByCal2_0dB (b1)
poor fit

## Slide 11: IPFByCal2_0dB (b2)

## Slide 12: IPFBxCal2_10dB (b1)

## Slide 13: IPFBxCal2_10dB (b2)

## Slide 14: jitRun10
QD0FF 137.1
Mover0 3.15
Mover1 3.15

## Slide 15: jitRun11
QD0FF 137.1
Mover0 1.56
Mover1 3.15

## Slide 16: jitRun12
QD0FF 137.1
Mover0 1.56
Mover1 3.10

## Slide 17: jitRun13
QD0FF 137.1
Mover0 1.56
Mover1 3.20

## Slide 18: jitRun14
QD0FF 136.9
Mover0 1.56
Mover1 3.20
move the waist away from IPB

## Slide 19: jitRun15
QD0FF 136.9
Mover0 1.56
Mover1 3.20
repeat of previous run after adjusting P3 scan delay to prevent two cycle jumps

## Slide 20: jitRun16
QD0FF 136.7
Mover0 1.56
Mover1 3.20
move further off-waist

## Slide 21: IPKCal1

## Slide 22: Summary of feedback runs
Run | QD0FF |  |  |  |  |  |  |  |  |  |  |  | 
1 | 136.7 | 1.06 | 0.324 | -2.28 | 0.328 | 1.14 | 0.329 | -0.82 | 0.618 | 0.92 | 0.98 | 2.60 | 1.88
2 | 136.7 | 1.22 | 0.212 | -2.15 | 0.192 | 1.23 | 0.191 | -3.63 | 0.080 | 0.87 | -0.23 | -0.26 | 0.42
3 | 136.7 | 1.10 | 0.210 | -2.27 | 0.212 | 1.15 | 0.188 | -3.64 | 0.087 | 0.89 | -0.21 | -0.22 | 0.46
4 | 136.5 | -0.10 | 0.660 | -4.08 | 0.508 | -0.08 | 0.639 | -4.46 | 0.103 | 0.98 | -0.09 | -0.31 | 0.16
5 | 136.9 | 2.65 | 0.176 | -0.05 | 0.185 | 2.66 | 0.166 | -2.74 | 0.090 | 0.87 | -0.18 | -0.03 | 0.54
6 | 137.1 | 4.23 | 0.079 | 2.20 | 0.081 | 4.22 | 0.085 | -1.66 | 0.079 | 0.21 | -0.59 | 0.36 | 0.93
7 | 136.9 | -0.37 | 0.257 | -0.06 | 0.249 | -0.35 | 0.249 | -0.10 | 0.089 | 0.93 | -0.24 | -0.38 | 0.36
Run | QD0FF |  |  |  |  |  |  |  |  |  |  |  | 
1 | 136.7 | 1.06 | 0.324 | -2.28 | 0.328 | 1.14 | 0.329 | -0.82 | 0.618 | 0.92 | 0.98 | 2.60 | 1.88
2 | 136.7 | 1.22 | 0.212 | -2.15 | 0.192 | 1.23 | 0.191 | -3.63 | 0.080 | 0.87 | -0.23 | -0.26 | 0.42
3 | 136.7 | 1.10 | 0.210 | -2.27 | 0.212 | 1.15 | 0.188 | -3.64 | 0.087 | 0.89 | -0.21 | -0.22 | 0.46
4 | 136.5 | -0.10 | 0.660 | -4.08 | 0.508 | -0.08 | 0.639 | -4.46 | 0.103 | 0.98 | -0.09 | -0.31 | 0.16
5 | 136.9 | 2.65 | 0.176 | -0.05 | 0.185 | 2.66 | 0.166 | -2.74 | 0.090 | 0.87 | -0.18 | -0.03 | 0.54
6 | 137.1 | 4.23 | 0.079 | 2.20 | 0.081 | 4.22 | 0.085 | -1.66 | 0.079 | 0.21 | -0.59 | 0.36 | 0.93
7 | 136.9 | -0.37 | 0.257 | -0.06 | 0.249 | -0.35 | 0.249 | -0.10 | 0.089 | 0.93 | -0.24 | -0.38 | 0.36
feedback off
feedback on

## Slide 23: fbRun1
double Gaussian structure caused by step change in mean position
QD0FF 136.7

## Slide 24: fbRun2
QD0FF 136.7
sign of and inverted

## Slide 25: fbRun3
QD0FF 136.7
repeat previous run with more triggers

## Slide 26: fbRun4
QD0FF 136.5

## Slide 27: fbRun5
QD0FF 136.9

## Slide 28: fbRun6
QD0FF 137.1

## Slide 29: fbRun7
QD0FF 136.9
extraction kicker delay changed to 4.325 µs

## Slide 30: Predicted performance
136.7
136.7
136.5
136.9
136.9
137.1

## Slide 31: Conclusions
Some room for improvement:
  Non-skewed charge for normalization of Q
  Gain parameters from