## Slide 1: Multi-sample averaging
D. R. Bett

## Slide 2: Averaging method (I)
Calibrate for each sample point
  For sample from the I and Q waveforms, determine IQ rotation and the calibration scale factor
For each sample point, calculate position

## Slide 3: Averaging method (II)
Define the averaged position as:
The averaging window starts at sample ; when fixed, this will be determined from the plot of scale factor as a function of
Following data is from the attenuation scan on 6 June 2014

## Slide 4: Averaging method (III)
use first sample after the (presumed) peak as

## Slide 5: Single sample (50 dB)

## Slide 6: Single sample (40 dB)

## Slide 7: Single sample (30 dB)

## Slide 8: Single sample (20 dB)

## Slide 9: Single sample (10 dB)

## Slide 10: Single sample (0 dB)

## Slide 11: Multi-sample (50 dB)
The four points from this line correspond to averaging windows starting at sample 71

## Slide 12: Multi-sample (40 dB)

## Slide 13: Multi-sample (30 dB)

## Slide 14: Multi-sample (20 dB)

## Slide 15: Multi-sample (10 dB)

## Slide 16: Multi-sample (0 dB)

## Slide 17: Collected results (I)
22 nm
16 nm
Scale performance at 50 dB

## Slide 18: Collected results (II)
22 nm
15 nm

## Slide 19: Collected results (III)
22 nm
13 nm

## Slide 20: jitRun11 (on waist)

## Slide 21: jitRun11 (on waist)

## Slide 22: jitRun14 (-0.2 A)

## Slide 23: jitRun14 (-0.2 A)

## Slide 24: jitRun16 (-0.4 A)

## Slide 25: jitRun16 (-0.4 A)

## Slide 26: jitRun12 (on waist)

## Slide 27: jitRun12 (on waist)

## Slide 28: Summary
While resolution limited, the jitter can be reduced through multi-sample averaging
Jitter typically reduced by 20%-40%, depending on averaging window chosen