## Slide 1: Honda electronics and IP kicker results
N. Blaskovic
N. Blaskovic

## Slide 2: Contents
Limiter in LO for Honda 2nd stage
Waveforms over IP BPM calibration
Jitter (resolution) vs. beam position
Jitter (resolution) vs. charge
IP feedback latency
IP kicker range and strength
N. Blaskovic

## Slide 3: LO for 2nd stage
Limiter output is LO for Honda 2nd stage
With Oscar, bunch charge was varied and the 4 outputs of the limiter were monitored
Performed with 2nd stage in S-band hut
Limiter output appears limited as intended for duration longer than BPM decay time
N. Blaskovic
BPF
Amplifier
Limiter
~714 MHz Ref(Y)
~714 MHz IPB(Y)
Mixer
delay cable

## Slide 4
N. Blaskovic
IP ICT charge: 0.066 x 1010 ± 5 %
IPA (Y) pre-2nd stage mixer
LO for 2nd stage mixer (channel 1)

## Slide 5
N. Blaskovic
IP ICT charge: 0.046 x 1010 ± 20 %
LO for 2nd stage mixer (channels 1–4)

## Slide 6
N. Blaskovic
IP ICT charge: 0.102 x 1010 ± 10 %
LO for 2nd stage mixer (channels 1–4)

## Slide 7
N. Blaskovic
IP ICT charge: 0.206 x 1010 ± 6 %
LO for 2nd stage mixer (channels 1–4)

## Slide 8
N. Blaskovic
IP ICT charge: 0.406 x 1010 ± 2 %
LO for 2nd stage mixer (channels 1–4)

## Slide 9
N. Blaskovic
IP ICT charge: 0.504 x 1010 ± 3 %
LO for 2nd stage mixer (channels 1–4)

## Slide 10: Waveforms over calibration
IPB (Y) mover scan
IPB (Y) variable attenuator at 0 dB
Waveform gradually shifts with mover position but significant superimposed structure present
N. Blaskovic

## Slide 11
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 12
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 13
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 14
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 15
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 16
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 17
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 18
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 19
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 20
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 21
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 22
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 23
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 24
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 25
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 26
N. Blaskovic
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 27: Jitter vs. beam position
Jitter scales with beam position over IP BPM mover scan
As we believe to be resolution-limited, the resolution scales with beam position
N. Blaskovic

## Slide 28
N. Blaskovic

## Slide 29: Jitter vs. charge
Resolution scales with charge
Expect: resolution ~ 1/charge
If jitter at lowest charge is resolution, then resolution at highest charge (0.45 x 1010) is 43 nm
Measured jitter of 60 nm at 0.45 x 1010 charge consistent with 43 nm resolution if
N. Blaskovic

## Slide 30
N. Blaskovic
43 nm
60 nm
Resolution = 1/charge assuming jitter = resolution at lowest charge

## Slide 31: IP feedback latency
Effect of a constant kick of 2000 DAC counts (driving kicker into saturation) studied as a function of effective bunch spacing
Study does not involve changing the ATF bunch spacing; only the time that the DAC out is issued is varied
N. Blaskovic

## Slide 32
N. Blaskovic
nominal
IP feedback

## Slide 33: IP kicker range
IP kicker maximum range at IPB is ± 8 um
Operated into kicker amplifier saturation
Data taken on 13th June 2014
N. Blaskovic

## Slide 34
N. Blaskovic

## Slide 35: IP kicker strength
IP kicker strength in um/DAC is strongest when bunch spacing is longest as kicker amplifier is fully driving the kicker
N. Blaskovic

## Slide 36
N. Blaskovic
Effective bunch spacing:
116 buckets of 2.8 ns

## Slide 37
N. Blaskovic
Bunch spacing:
77 buckets of 2.8 ns

## Slide 38: Conclusions
Limiter in LO for Honda 2nd stage limits OK
IP BPM calibration linear but waveform has superimposed oscillatory structure
Resolution limited with beam offset
Resolution limited with charge to 40 nm at 0.5 x 1010
IP feedback bunch spacing ≥ 77 buckets
IP kicker range is ± 8 um at IPB
N. Blaskovic

## Slide 39: Appendix
IPK kicker scan in June 2012
N. Blaskovic

## Slide 40
N. Blaskovic
IPK kicker tests in June 2012 showed a kick in excess of ± 10 um at IPB
Data was only taken using SLAC electronics via EPICS
15 June 2012 ATF Operation Meeting report, by Doug Bett