## Slide 1: Jitter vs. attenuation
N. Blaskovic
N. Blaskovic

## Slide 2: Contents
IPB (Y) data from 18 Dec 2014
At each IPB(Y) attenuation:
  Calibration waveforms
  Calibration control plots
Summary plots:
  Calibration constant vs. attenuation
  Jitter vs. attenuation
N. Blaskovic

## Slide 3: Notes
Without 714 ± 10 MHz filter on IPB(Y) between Honda’s first and second stage
Using SIS digitiser:
  Raw waveforms presented
  Calibration analysis uses pedestal subtraction
IP ICT is 0.65 x 1010
Jitter calculated with 10 sample averaging (samples 66 to 75)
N. Blaskovic

## Slide 4
N. Blaskovic
50 dB
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 5
N. Blaskovic
40 dB
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 6
N. Blaskovic
30 dB
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 7
N. Blaskovic
20 dB
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 8
N. Blaskovic
10 dB
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 9
N. Blaskovic
0 dB
IPB(Y) I
IPB(Y) Q
Ref(Y)

## Slide 10
N. Blaskovic
50 dB

## Slide 11
N. Blaskovic
40 dB

## Slide 12
N. Blaskovic
30 dB

## Slide 13
N. Blaskovic
20 dB

## Slide 14
N. Blaskovic
10 dB

## Slide 15
N. Blaskovic
0 dB

## Slide 16
N. Blaskovic

## Slide 17
N. Blaskovic
12 nm

## Slide 18: Summary
Calibration constant scales well but not perfectly with attenuation
Real beam jitter likely to be > 200 nm as beam not tuned (after extraction kicker recovery)
Assuming jitter at 50 dB is resolution, extrapolated resolution at 0 dB is 12 nm at 0.65 x 1010 charge
N. Blaskovic