## Slide 1: IP BPM resolution
N. Blaskovic
N. Blaskovic

## Slide 2: 3 BPM resolution
3 BPM resolution derived from residual between measured & predicted positions
Predicted position at one BPM calculated from measured positions at other 2 BPMs:
Prediction coefficients found using one of three methods
N. Blaskovic

## Slide 3: Prediction coefficients
Fitting method: least squares fit to
Geometric method: deduced from separation of BPMs (for IP BPMs)
Enhanced fitting method (Doug): explore all pairs of ; then, select the pair giving the smallest resolution
N. Blaskovic

## Slide 4: Resolution
Using resol_0dB_8_FB_off from 201214
Resolution obtained over samples 60–62 from Gaussian fit
N. Blaskovic
Method | Resolution (nm) |  | 
 | IPA | IPB | IPC
Fitting | 54±1 | 53±1 | 57±1
Geometric | 54±1 |  | 
Enhanced fitting | 53±1 |  | 

## Slide 5
N. Blaskovic
Fitting

## Slide 6: Predicted vs. measured
Predicted vs. measured position for the three IP BPMs
Would have (naively) expected the gradient to be 1 when using fitting method as fit coefficients deduced from data
N. Blaskovic

## Slide 7
N. Blaskovic
Fitting

## Slide 8: Gradient
What is the implication of gradient < 1?
Take pairs of arbitrary variables v, w
Consider scatter plots and linear fits to
  w vs. v
  v vs. w
N. Blaskovic

## Slide 9
N. Blaskovic
w vs. v

## Slide 10
N. Blaskovic
v vs. w

## Slide 11: Appendix
Position & residual distributions and predicted vs. measured positions for geometric and enhanced fit methods
N. Blaskovic

## Slide 12
N. Blaskovic
Geometric

## Slide 13
N. Blaskovic
Enhanced fit

## Slide 14
N. Blaskovic
Geometric

## Slide 15
N. Blaskovic
Enhanced fit