## Slide 1: ODR/OTR emittance station at ATF2 (KEK)
M. Bergamaschi1,2, E. Bravin2, P. Karataev1,
R. Kieffer2, K. Kruchinin1, T. Lefevre2, S. Mazzoni2
John Adams Institute at Royal Holloway, Egham UK
CERN European Organisation for Nuclear Research, Geneva, Switzerland

## Slide 2
Overview
Motivations and Goals:
Develop, install and test a combined Optical Transition Radiation (OTR) and Optical Diffraction Radiation (ODR) emittance station at ATF2 at High Energy Accelerator Research Organisation (KEK)
To optimize sensitivity to micron and sub-micron beam sizes, we plan to observe ODR/OTR in the visible and near-UV wavelength range, down to approximately 180 nm.

## Slide 3
Experimental design

## Slide 4
Project status
Tank production

## Slide 5
Project status
Target and mask produced from a Silicon wafer at EPFL (Lausanne)
Target holder
Planarity between two slit sides is about 10 nm < λ/10

## Slide 6
OTR optical line
OTR optical line tests
Zemax simulation of the expected OTR PSF for a selection of commercial lenses
sCMOS Camera on linear stage
Filter wheel
Polariser rotational stage
Camera lens
Folding mirror
First Lens

## Slide 7
Intensified camera
Filter wheel
Polarizer
Lens f = 100
Mirror
Lens f = 500
Mirror
Mirror
Mirror
Mirror
Mirror
Light from viewport
ODR optical line
On an horizontal translational stage
Far-field (angular) configuration

## Slide 8
Intensified camera
Filter wheel
Polarizer
Lens f = 100
Lens f = 500
Light from viewport
Mirror
Mirror
Mirror
Mirror
Mirror
Mirror
ODR optical line
On an horizontal translational stage
Imaging configuration

## Slide 9
Summary
Status of the project:
ODR and OTR optical lines already designed for the visible range
All component except of cameras shipped to KEK and already arrived
System planned to be installed at ATF2 during shutdown week of February 2016 (08/02/2016-14/02/2016)
We plan to be at ATF2 with both cameras on 03/02/2016 to set-up the installation
First experimental measurements planned the week after installation
Scheduled beam time?
Future improvement:
After first measurements in the visible wavelength range, upgrade the optical line for UV wavelength range

## Slide 10
Thank you for your attention!