## Slide 1
N. Blaskovic, T. Bromwich, C. Perry, R. Ramjiawan
Phase Jitter

## Slide 2: IPBPM A Phase Jitter
Mean jitter: 0.1165 radians (0.159 radians)
Reference Sample: 51,
IQ Samples: 59
Calibration File: IPAyCal1_30dB_0.7
Shift: 160315

## Slide 3: IPBPM B Phase Jitter
Chart: IPBPM Jitter at Each Mover Step
| 1 | 2 | 3 | 4 | 5 | 6 | 8 | 9
 | 0.0736 | 0.083 | 0.1004 | 0.1008 | 0.1145 | 0.1589 | 0.1037 | 0.1124
 | 0.10591 | 0.10591 | 0.10591 | 0.10591 | 0.10591 | 0.10591 | 0.10591 | 0.10591
Mean jitter: 0.1059 radians (0.164 radians)
Reference Sample: 51,
IQ Samples: 59
Calibration File: IPByCal1_30dB_0.7
Shift: 160315

## Slide 4: IPBPM C Phase Jitter
Chart: IPBPM Jitter at Mover Setting
| 5 | 4 | 3 | 2 | 1
 | 0.1014 | 0.0984 | 0.0794 | 0.0616 | 0.1545
 | 0.0852 | 0.0852 | 0.0852 | 0.0852 | 0.0852 | 0.039289 | 0.05074 | 0.043907
Mean jitter: 0.0852 radians (0.104 radians)
Reference Sample: 51,
IQ Samples: 59
Calibration File: IPCyCal1_30dB_0.7
Shift: 160315

## Slide 5: Correlation phase jitter to charge
IPBPM | Correlation
A | 8.86%
B | 26.94%
C | 8.87%
Plot: local θIQ vs. charge (for each trigger).
Correlation
A
B
C

## Slide 6: Correlation (remove outliers)
Take two 3σ cuts on local θIQ.
IPBPM | Correlation
A | 11.5%
B | 39.6%
C | 14.6%
A
B
C

## Slide 7: Correlation Jitter File
IPBPM | Correlation
A | 7.7%
B | -1.7%
C | -22%
A
B
C
Reference Sample: 51,
IQ Samples: 59
Calibration File: jitRun23_30dB_0.7
Shift: 160315

## Slide 8: Correlation Jitter File (remove outliers)
IPBPM | Correlation
A | 13.7%
B | -15%
C | -18%
A
B
C
Reference Sample: 51,
IQ Samples: 59
Calibration File: jitRun23_30dB_0.7
Shift: 160315