## Slide 1: Propagated and measured IP y’
N. Blaskovic
N. Blaskovic, T. Bromwich, P. Burrows, G. Christian, C. Perry, R. Ramjiawan
John Adams Institute, Oxford University

## Slide 2: Introduction
IP y’ can be obtained from
  Propagating P2 & P3 positions to IP with MAD
  Measuring IPA & IPC positions in IP region
Data used from 14 June 2016
P2, P3 and IP BPM data saved by FONT5 boards (hence synchronous)
Thanks to Philip and Tauchi for suggestion
N. Blaskovic

## Slide 3
N. Blaskovic
propagated
11 nm propagated y jitter at IP

## Slide 4
N. Blaskovic
measured
Interpolated y jitter limited by IP BPM resolution

## Slide 5
N. Blaskovic
measured vs. propagated
Scale of measured and propagated IP y’ agree

## Slide 6: Conclusion
IP y jitter interpolation is limited by IP BPM resolution
IP y’ reconstruction is accurate and agrees with propagated results from upstream
N. Blaskovic

## Slide 7: Appendix
N. Blaskovic

## Slide 8: Notes on data
Data: upstream3bpm2bunch3
Calibration: AQD0FFyScan2_40dB
Date: 14 June 2016
Analysed bunch 1
  Sample 9 for IPA, IPB, IPC
  Sample 14 for Ref
N. Blaskovic

## Slide 9: Resolution
Charge ~ 0.25 x 1010
Upstream BPMs:
  6 dB attenuation before Σ mixer
  no attenuation before Δ mixer
  3-BPM resolution ~ 700 nm (fitting)
IP BPMs:
  40 dB attenuation after dipole cavities
  3-BPM resolution ~ 4 um (fitting)
N. Blaskovic