## Slide 1
Status of Cryogenics Facilities Design
M. Miyahara (KEK)
7th December,2016 at Aiina Center, Morioka

## Slide 2
Contents
Design change for Cryogenics Facilities
Underground Cavern
Surface Facilities
Outline of Construction Cost Impact
Summary

## Slide 3: Design Change of Underground Cavern
TDR Design
Alternative Design
To Surface
Energy Service Hall
Beam tunnel
Service gallery
Shield wall
Entrance Hall
Cryogenics
Cryogenics Cavern
To the portal
Entrance Hall
Compressor
Electric & Mechanical
Electric & Mechanical
Cryogenics
Cryogenics
Electric & Mechanical
To Access portal
LCWS2016 at Morioka
Compressors
Cryogenics Hall
Entrance Hall
Beam Tunnel
Access Hall Cavern (TDR)

## Slide 4
Cryogenics Cavern in the underground
Cold Box Cavern
TDR Baseline | Cavern area/Volume:
TDR Modified | Cavern area/Volume:
Revised scheme
TDR Scheme
100,000
Compressor Cavern

## Slide 5
Compressor House :
Approx. 2,000㎡
L=49 m, w=42 m, H=15m
(for 2 Cryo. units)
Crane equipment:
20 t crane
Crane effective area;
45m x 38m
Ventilation facility
Ventilation capacity :
120000 m3/hour
Compressor House on surface
Schematic Layout of Cryogenics Compressor
Surface Building

## Slide 6
He Storage House :
Approx. 700㎡
L=23 m, w=15 m, H=8 m
2 buildings
LHe Storage House on surface
Schematic Layout of Storage House
15m
15m
23m
Surface Building

## Slide 7
Surface Yard
Cryogenics Plant area on surface
Site area:
14,000㎡
Control room
Compressor
Cryo purifier
Valve unit
Ｏｉｌ separator
Air compressor
HV box
2,000㎡
Compressor House
Lhe Storage House
Buffer Tank yard
LN2 Tank yard
5m×5m

## Slide 8
LHC Point 4 Cooling Towers
LHC Point 4 Site
Jura Mountains
LHC Tunnel
LHC Point 4 Echenevex Main Site, France

## Slide 9
ILC Cryogenics Plant
Surface Yard:
Area = 14,000 ㎡
LHC Point Cooling Towers, Approx level = 550m ASL
LHC Point 4 Site & ILC Virtual site
LHC Point 4 Echenevex Main Site, Approx level = 590m ASL
Point 4
LHC Tunnel:
Point 2
Point 3
Point 5
Point 8
Point 7
Point 6
Point 1
Horizontal: 500m
Vertical: 40m
Main LINAC
LHC Point 4
Scale image in ILC site

## Slide 10
 | TDR Scheme |  |  |  | Revised Scheme |  |  | 
Item | Facility | Quantity m2 |  |  | Facility | Quantity m2 |  | Difference to TDR
 |  | 1 Place |  | 6 Places |  | 1 Place | 6 Places | 
Underground Cavern | Cold Box | 1,120 | 5,600 |  | Cold Box | 1,120 | 5,600 | 0
 | Compressor | 2,000 | 10,000 |  | - | - | - | - 600
Sub Total |  | 3,120 | 15,600 |  |  | 1,120 | 5,600 | -10,000
Surface Building | - | - | - |  | Compressor | 2,000 | 10,000 | 10,000
 | - | - | - |  | Storage House | 700 | 3,500 | 3,500
Sub Total |  | 0 | 0 |  |  | 2700 | 13,500 | 13,500
Construction Cost Impact |  |  | 100 % |  |  |  | 93 % | ▼7 %
Construction Cost Impact
Comparison to TDR scheme
Facilities Scale: Floor area

## Slide 11
Summary
Facilities Design
Reduction of underground cavern space (volume)
Increase of Surface building space
Eliminate the vibration issue by the compressor
The total construction cost of the underground cavern and surface buildings are reduced slightly.
Shortening the Construction period at underground
Cost & Schedule

## Slide 12
Appendix
LHC Point 4 Site