## Slide 1: Dispersion and its application to the Quadscan

## Slide 2
Current QuadScan Method
QuadScan => Measuring beta functions

## Slide 3
Adding Dispersion contribution to beam size

## Slide 4: Fitting Methods
‘Coregauss’ – Fits two gaussians, returns the taller/thinner one
‘Japanesegauss’ – Fits one gaussian, removes all points below a certain cutoff (15%), fits and returns another gaussian

## Slide 5: ‘gauss’ vs. ‘Japanesegauss’

## Slide 6: Dispersion Calculation
Change of 0.8% in gun current => -0.5% change in beam energy (nominally 135MeV)

## Slide 7: Chromatic Aberration
Nominal
After Energy Change (-0.5%)

## Slide 8: A & B Energy Dependence
Assumed so far that A and B depend only on quadrupole current, not beam energy.
Girder 20

## Slide 10: Results
A horizontal and a vertical scan for a straight beam (no delay loop) at girder 20
A horizontal and a vertical scan for a beam which has passed through the delay loop at girder 20
A horizontal scan for a beam which has passed through the delay loop at girder 20 (Large chromatic aberration in Y)

## Slide 15
AB Change

## Slide 24
No disp. subtraction

## Slide 28
However due to the collimation effect of the delay loop, beams coming from here can have an energy spread of ~0.5%. This gives much more reasonable values for the dispersion contribution to the beam size.
Normally take the energy spread to be 0.7 <-> 1 % for a beam not passing through the delay loop (measured with spectrometer)

## Slide 33: Implementing Dispersion Measurement into QuadScan Function
Perform QuadScan as normal at two different beam energies.
Run new program on the saved beam profiles
Results are output with dispersion subtraction

## Slide 35: Looking to the Future
Accurate Twiss Parameter calculations facilitate the optimisation of the Delay Loop injection.
Finding the energy dependence of the chromatic aberration constants.
Placing limits on the energy spread using measurements of the dispersion contribution to beam size.