## Slide 1
N. Blaskovic, T. Bromwich, R. Ramjiawan
Further Resolution Analysis
Oct 2016

## Slide 2: Sub-dividing Data Sets
After combining seven consecutive feedback runs I separated the data based on position information.

## Slide 3: Sub-division cutting on A
Chart: Resolution from Sub-divided Data Set
| 0 | 1 | 2 | 3 | 4 | 5
IPA | 0.048894 | 0.041225 | 0.040831 | 0.040194 | 0.043358 | 0.064174
IPB | 0.055939 | 0.060445 | 0.060411 | 0.058075 | 0.058501 | 0.059619
IPC | 0.047068 | 0.051488 | 0.050311 | 0.050331 | 0.061751 | 0.069544
Files: AQD0FF scan – 5. FB Run – 6 to 13. 1557 triggers total.
IQ Samples: 12:20, Reference Sample: 21.
Mixed fitting to I’/q.
Below -1s.d -1s.d to -0.5s.d -0.5s.d to 0s.d 0s.d to 0.5s.d 0.5s.d to 1s.d Above 1s.d
Resolution (um)

## Slide 4: Sub-division Cutting on B
Chart: Resolution from Sub-divided Data Set
| 0 | 1 | 2 | 3 | 4 | 5
IPA | 0.053617 | 0.057452 | 0.054666 | 0.053171 | 0.063377 | 0.068847
IPB | 0.05127 | 0.037166 | 0.035127 | 0.036618 | 0.036183 | 0.056974
IPC | 0.047189 | 0.049906 | 0.049935 | 0.048575 | 0.061151 | 0.0703
Resolution (um)
Below -1s.d -1s.d to -0.5s.d -0.5s.d to 0s.d 0s.d to 0.5s.d 0.5s.d to 1s.d Above 1s.d
Files: AQD0FF scan – 5. FB Run – 6 to 13. 1557 triggers total.
IQ Samples: 12:20, Reference Sample: 21.
Mixed fitting to I’/q.

## Slide 5: Sub-division Cutting on C
Chart: Resolution from Sub-divided Data Set
| 0 | 1 | 2 | 3 | 4 | 5
IPA | 0.062177 | 0.065546 | 0.062622 | 0.061793 | 0.061168 | 0.056464
IPB | 0.058491 | 0.062114 | 0.059845 | 0.060924 | 0.061837 | 0.058258
IPC | 0.045602 | 0.021898 | 0.021171 | 0.021382 | 0.021092 | 0.042545
Resolution (um)
Below -1s.d -1s.d to -0.5s.d -0.5s.d to 0s.d 0s.d to 0.5s.d 0.5s.d to 1s.d Above 1s.d
Files: AQD0FF scan – 5. FB Run – 6 to 13. 1557 triggers total.
IQ Samples: 12:20, Reference Sample: 21.
Mixed fitting to I’/q.

## Slide 6: Calibration Constant with Attenuation
Chart: Attenuation (dB)
| 0 | 10 | 20 | 30 | 40
IPA | 2.45 | 0.78 | 0.26 | 0.0822 | 0.0283
IPB | 2.3 | 0.74 | 0.24 | 0.0751 | 0.02461
IPC | 1.57 | 0.65 | 0.2 | 0.06397 | 0.01948
Files: AQD0FF scans – 8, 7, 9, 10,11. Jit Run – 13, 10, 14. FB Run – 23, 24.
IQ Samples: 12:20, Reference Sample: 21.

## Slide 7: Resolution: Fitting to Self Q Prime
Fitting Parameters | IPA Resolution | IPB Resolution | IPC Resolution
 | 44.3±3.1nm | 47.2±3.3nm | 40.0±2.8nm
 | 39.6±2.7nm | 40.3±2.8nm | 35.6±2.5nm
 | 30.0±2.1nm | 32.5±2.2nm | 34.0±2.4nm
Fitting Parameters | IPA Resolution | IPB Resolution | IPC Resolution
 | 44.3±3.1nm | 47.2±3.3nm | 40.0±2.8nm
 | 39.6±2.7nm | 40.3±2.8nm | 35.6±2.5nm
 | 30.0±2.1nm | 32.5±2.2nm | 34.0±2.4nm
Calibration File: AQD0FFyScan5_0dB (271016 owl shift).
Jitter File: fbRun9_Board2_281016.
194 triggers, analysing bunch one.
I and Q signal sample numbers used: 12:20, reference signal sample used: 21.
Geometric method resolution: 47.9±3.6 nm.

## Slide 8: Tauchi-san’s Resolution Questions
C : In principle, one can further correct the I-Q angle from the fitting results with the self Q'.
      Fitted to to determine .
      Created three new I’/q vectors = .
      Use these three vectors to fit and measure resolution as before:
      .
  IPA: 56.6±4.1nm resolution,
  IPB: 52.6±3.8nm resolution,
  IPC: 50.3±3.6nm resolution.

## Slide 9
Appendix

## Slide 10: Tauchi-san’s Questions
C : It may be interesting to see any correlation of Q' between IPA, IPB and IPC, since Q' shows the angle of the beam in principle.
Q : How much are the beam sizes at IPA, IPB and IPC ?
Q : Are the beam angles (Q') zero at IPA, IPB and IPC ? If not, how much are they (Q') ?
Q : How much are errors of the position jitters to see the significance?
Q : How much are errors of the correlations to see the significance?
Q : How much is the angle jitters measured by the Q' signals assuming the conversion coefficient of 3.2um/mrad ?
Q : Are the average of Q' signals centered at 0, i.e. zero angle ?
C : In principle, one can further correct the I-Q angle from the fitting results with the self Q'.
Q : Assuming the above fine adjustments, can you calculate the correlations and the angle jitters ?