## Slide 1
N. Blaskovic, T. Bromwich, R. Ramjiawan
Further Resolution Analysis
And Phase Shifters

## Slide 2: Phase Shifters
Next steps:
Approach all values from below: struggling to implement this in real-time.
Measure phase shift varying with input values: using network analyser.
Try sending signals through serial server.

## Slide 3
Fitting to Self Q’/q
The Seven Parameter Fit

## Slide 4: IPA Resolution: 7 parameters
Fb Run | 6 | 7 | 8 | 9 | 10 | 11 | 12
I’2/q | -1.5387 | -1.5913 | -1.4884 | -1.4255 | -1.4277 | -1.5299 | -1.6081
I’3/q | 0.58667 | 0.53449 | 0.69604 | 0.61084 | 0.59369 | 0.55283 | 0.56405
Q’2/q | 0.66116 | 1.2046 | 0.49572 | 1.3863 | 1.461 | 1.7955 | 1.589
Q’3/q | -0.77944 | -1.1708 | -1.2746 | -1.0986 | -1.1969 | -2.8865 | -2.4142
Q’1/q | 0.91925 | 0.63092 | 0.29368 | 1.4263 | 1.1531 | 0.9697 | 0.61853
1/q | -0.0011522 | -0.00097489 | 0.0012161 | -0.0040787 | -0.0027368 | -0.00110139 | -0.0015481
Const. | -0.56871 | 5.1559 | -5.3604 | 7.6605 | 7.2953 | -3.6744 | -0.37917
Files: AQD0FF scan – 5. FB Run – 6 to 12. IQ Samples 12:20, Ref Sample 21.

## Slide 5: IPB Resolution: 7 parameters
Fb Run | 6 | 7 | 8 | 9 | 10 | 11 | 12
I’2/q | -0.61318 | -0.5892 | -0.60515 | -0.64193 | -0.61113 | -0.60456 | -0.54419
I’3/q | 0.35658 | 0.30804 | 0.3942 | 0.36707 | 0.33872 | 0.33367 | 0.33311
Q’2/q | 0.45824 | 0.23983 | 0.10629 | 0.70237 | 0.3153 | 0.42756 | -0.049808
Q’3/q | -0.64287 | -0.88519 | -1.079 | -1.2942 | -1.3491 | -1.8957 | -1.6341
Q’1/q | 0.46619 | 0.78502 | 0.49491 | 1.0711 | 1.032 | 1.2021 | 0.94524
1/q | -0.00068336 | -0.00038268 | 0.00091329 | -0.0015097 | -0.00029283 | -0.00046917 | -0.00052073
Const. | -0.4109 | 2.7714 | -3.3155 | 1.998 | 1.4693 | -1.3982 | 0.11361
Files: AQD0FF scan – 5. FB Run – 6 to 12. IQ Samples 12:20, Ref Sample 21.

## Slide 6: IPC Resolution: 7 parameters
Fb Run | 6 | 7 | 8 | 9 | 10 | 11 | 12
I’2/q | 1.3502 | 1.254 | 1.1743 | 1.3441 | 1.2687 | 1.3334 | 1.1907
I’3/q | 2.0594 | 1.9518 | 1.6358 | 1.7936 | 1.691 | 2.0366 | 2.0779
Q’2/q | -0.75725 | 0.10509 | -0.16287 | -1.9643 | -1.1847 | -0.48886 | 0.97765
Q’3/q | -0.34379 | -0.80033 | -0.27606 | -1.3498 | -1.0136 | -1.7539 | -1.3896
Q’1/q | 0.58957 | -0.43559 | 0.91375 | -0.14958 | -0.23883 | 3.1166 | 3.2103
1/q | 0.00085216 | 0.00024504 | -0.001915 | 0.0067042 | 0.0035526 | 0.00061419 | -0.00029768
Const. | 1.0961 | -17.269 | 4.6333 | -18.837 | -15.261 | 2.9354 | 0.87635
Files: AQD0FF scan – 5. FB Run – 6 to 12. IQ Samples 12:20, Ref Sample 21.

## Slide 7
Analysis of 1557 Triggers
From 7 consecutive fbRuns

## Slide 8: Beam Position For Consecutive Files
Files: AQD0FF scan – 5. FB Run – 6 to 13. 1557 triggers total.
IQ Samples: 12:20, Reference Sample: 21.

## Slide 9: Analysis of Seven Consecutive Files
IPA: Complete Fitting to Position: Resolution = 0.062789+/-0.00159um
IPB: Complete Fitting to Position: Resolution = 0.062431+/-0.00158um
IPC: Complete Fitting to Position: Resolution = 0.071704+/-0.00182um
IPA: Mixed Fitting to I’/q: Resolution = 0.062470+/-0.00158um
IPB: Mixed Fitting to I’/q: Resolution = 0.060856+/-0.00154um
IPC: Mixed Fitting to I’/q: Resolution = 0.058452+/-0.00148um
IPA: Mixed Fitting to I’/q, Q’/q: Resolution = 0.045877+/-0.00116um
IPB: Mixed Fitting to I’/q, Q’/q: Resolution = 0.047062+/-0.00119um
IPC: Mixed Fitting to I’/q, Q’/q: Resolution = 0.046524+/-0.00118um
IPA: Mixed Fitting to I’/q, Q’/q, Self Q’/q: Resolution= 0.044815+/-0.00116um
IPB: Mixed Fitting to I’/q, Q’/q, Self Q’/q: Resolution= 0.044033+/-0.00115um
IPC: Mixed Fitting to I’/q, Q’/q, Self Q’/q: Resolution= 0.046413+/-0.00186um
Geometric Method: Resolution = 0.062865+/-um
AQD0FF scan – 5.
FB Run – 6 to 13.
1557 triggers total.
IQ Samples: 12:20,
Reference Sample: 21.

## Slide 10
Calibration Constant with Attenuation

## Slide 11: Variation in Calibration Constant
Chart: Deviation from Calibration Constant Prediction
| 0 | 10 | 20 | 30 | 40
IPA | 0.38 | 0.11492 | 0.023 | 0.0072925 | 0
IPB | -0.161 | -0.038237 | -0.0061 | -0.0027237 | 0
IPC | -0.378 | 0.033988 | 0.0052 | 0.0023688 | 0
Files: AQD0FF scans – 8, 7, 9, 10,11. Jit Run – 13, 10, 14. FB Run – 23, 24.
IQ Samples: 12:20, Reference Sample: 21.

## Slide 12: Calibration Constant Scaling With Attenuation
Chart: Percentage deviation of calibration constant
| 0 | 10 | 20 | 30 | 40
 | 13.4276 | 12.8418 | 8.1272 | 8.1487 | 0
 | 6.5421 | 4.9132 | 2.4787 | 3.4998 | 0
 | 19.4045 | -5.5175 | -2.6694 | -3.8454 | 0

## Slide 13
Appendix

## Slide 14: I’/q Signals and Q’/q Signals
IPA, IPB, IPC
Calibration File: AQD0FFyScan5_0dB (271016 owl shift).
Jitter File: fbRun9_Board2_281016.
194 triggers, analysing bunch one.
I and Q signal sample numbers used: 12:20, reference signal sample used: 21.

## Slide 15: Q’/q summed over 9 samples
Q’/q (ADC/ADC)
Trigger
IPA
IPB
IPC

## Slide 16: Sub-division cutting on A
Chart: Resolution from Sub-divided Data Set
| 0 | 1 | 2 | 3 | 4 | 5
IPA | 0.048894 | 0.041225 | 0.040831 | 0.040194 | 0.043358 | 0.064174
IPB | 0.055939 | 0.060445 | 0.060411 | 0.058075 | 0.058501 | 0.059619
IPC | 0.047068 | 0.051488 | 0.050311 | 0.050331 | 0.061751 | 0.069544
Files: AQD0FF scan – 5. FB Run – 6 to 13. 1557 triggers total.
IQ Samples: 12:20, Reference Sample: 21.
Mixed fitting to I’/q.
Below -1s.d -1s.d to -0.5s.d -0.5s.d to 0s.d 0s.d to 0.5s.d 0.5s.d to 1s.d Above 1s.d
Resolution (um)

## Slide 17: Sub-division Cutting on B
Chart: Resolution from Sub-divided Data Set
| 0 | 1 | 2 | 3 | 4 | 5
IPA | 0.053617 | 0.057452 | 0.054666 | 0.053171 | 0.063377 | 0.068847
IPB | 0.05127 | 0.037166 | 0.035127 | 0.036618 | 0.036183 | 0.056974
IPC | 0.047189 | 0.049906 | 0.049935 | 0.048575 | 0.061151 | 0.0703
Resolution (um)
Below -1s.d -1s.d to -0.5s.d -0.5s.d to 0s.d 0s.d to 0.5s.d 0.5s.d to 1s.d Above 1s.d
Files: AQD0FF scan – 5. FB Run – 6 to 13. 1557 triggers total.
IQ Samples: 12:20, Reference Sample: 21.
Mixed fitting to I’/q.

## Slide 18: Sub-division Cutting on C
Chart: Resolution from Sub-divided Data Set
| 0 | 1 | 2 | 3 | 4 | 5
IPA | 0.062177 | 0.065546 | 0.062622 | 0.061793 | 0.061168 | 0.056464
IPB | 0.058491 | 0.062114 | 0.059845 | 0.060924 | 0.061837 | 0.058258
IPC | 0.045602 | 0.021898 | 0.021171 | 0.021382 | 0.021092 | 0.042545
Resolution (um)
Below -1s.d -1s.d to -0.5s.d -0.5s.d to 0s.d 0s.d to 0.5s.d 0.5s.d to 1s.d Above 1s.d
Files: AQD0FF scan – 5. FB Run – 6 to 13. 1557 triggers total.
IQ Samples: 12:20, Reference Sample: 21.
Mixed fitting to I’/q.