## Slide 1: FONT stripline BPM resolution
N. Blaskovic
N. Blaskovic, R. Bodenstein, T. Bromwich, P. Burrows, G. Christian, C. Perry, R. Ramjiawan
John Adams Institute, Oxford University

## Slide 2: Stripline BPM system
3 stripline BPMs P1, P2 & P3 in EXT line
Previous resolution 291 ± 10 nm at charge of 0.5 x 1010 (PRST-AB 18, 032803, 2015)
N. Blaskovic
based on figure from G. White et al. (PRL, 2014)

## Slide 3: Stripline BPM system upgrades
Upgraded phase shifter (finer setting)
Installed 6 dB attenuator in processor (double maximum operating charge: 1010)
Introduced FONT5A board clock filtering
N. Blaskovic
+
–


Φ
stripline BPM
phase
shifter
processor
FONT5A board
6dB
hybrids
attenuator
mixers

## Slide 4
N. Blaskovic
213 nm at ~0.5 x 1010
157 nm at ~0.8 x 1010
latest results

## Slide 5: Conclusion
Stripline BPM system hardware upgraded for improved resolution and higher charge
Best resolution: ~150 nm at 0.8 x 1010
Thanks to Glen White and the rest of the ATF team for stable high-charge beam!
N. Blaskovic